## Instructions
Primary Engineering Projects
SITE SECURITY IMPACT ASSESSMENT - FOR CONSTRUCTION WORKS
Instructions
Step 1) Undertake a Site Security Risk Assessment for the site - refer to Risk Classification
Step 2) Examine the options for Risk Mitigation - Refer Site Mitigation Measures
Step 3 ) Examine the Resultant Security Risk Classification, reconsider mitigation measures to address the identified site security risks, aiming to reduce risk to LOW - Refer to Site Mitigation Measures
| H | -3
| M | -2
| M | -2
| M | -2
| H | -3
| H | -3
| M | -1
| M | -1
| H | -7
| H | -7

## Risk Classification
Primary Engineering Projects
SITE SECURITY - RISK ASSESSMENT FOR CONSTRUCTION WORKS
Date of Risk Assessment: |  |  | Project Title:
Risk Assessment undertaken by: |  |  | Project Number:
Risk Assessment Revision No:
Score each item below - YES=3, POSSIBLE=2, NO=1.
Consider any existing site information (e.g. site inspection risk assessments) that may be available as part of the classification.
EXISTING SITE / NEW LOCATION | Score |  | WORK TO BE UNDERTAKEN (including time & duration of works) | Score
Is the site prone to vandalism | 1 |  | Will work require site cabins | 1
Is the site prone to / signs of tresspass | 1 |  | Will work involve material storage on site | 1
Building alarms absent / inadequate communications to Control | 1 |  | Will work take longer than 2 weeks | 1
Electric fence absent / inadequate communications to Control | 1 |  | Will work take place during periods of greater interest (Summer) | 1
Is the Substation site hidden from view | 1
Are there open terminal equipment on site | 1
Are existing security measures considered inadequate | 1
Are there visible attractive items of equipment on site e.g earthing | 1
average score | 1 |  | average score | 1
apply rating factor 1.75 | 1.75
Comments: Identify what is at risk??? Quantify if there is a greater risk of interference due to construction activities??? |  |  | Comments: Identify why interest will be created? Identify when risks will be greater?? Is there a greater risk of inteference because of what works occur at site and when they occur???
ADJACENT PROPERTIES
Local population unlikely to contact authorities? e.g. police | 1
In disrepair ? | 1 |  |  |  | H | -3
Local population likely to be attracted to our activities ? | 1 |  |  |  | M | -2
[5 empty] | M | -2
[5 empty] | M | -2
average score | 1 |  |  |  | H | -3
apply rating factor 1.5 | 1.5 |  |  |  | H | -3
Comments :- Identify who is at risk? Is there a greater risk of interference because of the surrounding environment?? |  |  |  |  | M | -1
[5 empty] | M | -1
[5 empty] | H | -7
[5 empty] | H | -7
SECURITY RISK CLASSIFICATION NUMBER= | 4.25
SECURITY RISK CLASSIFICATION = | LOW - See Site Security Mitigation Measures
|  | 4.25 | LOW - See Site Security Mitigation Measures
|  | 6.4 | MEDIUM - See Site Security Mitigation Measures
|  | 8.5 | MEDIUM - See Site Security Mitigation Measures
|  | 10.6 | HIGH - See Site Security Mitigation Measures
|  | 12.75 | HIGH - See Site Security Mitigation Measures
Master
Rev 01 - 11.05.06

## Site Mitigation Measures
Primary Engineering Projects
SITE SECURITY - MITIGATION MEASURES FOR CONSTRUCTION WORKS
Project Title:
Project Number:
Site Location:
Step 1) Select mitigation measures required - amend column to Y or N.
Step 2) Check the resultant security risk classification number against the security risk classification category and
repeat the process to ensure that the mitigation measures are considered suitable to mitigate the identified site risks
aiming for the risk rating to be in the low category.
| Mitigation Measures (refer to Site Security - Risk Assessment for Construction Sites) | Equivalent Rating Classification | Mitigation Measures to be Implemented (Enter Y or N)
Standard Security Measures - Applicable to all LOW, MEDIUM & HIGH Risk Sites
| Appropriate Signs & Notices in place | 0 | Y
| Existing security measures in good condition - working / communicating correctly e.g. fencing | 0 | Y
| Access Restricted via site delineation | 0 | Y
| Secure storage areas available | 0 | Y
| Fixed intruder alarm fitted & communicates to Control | 0 | Y
| Delineate construction site from existing operational areas | 0 | Y
| Periodic inspection of security measures | 0 | Y
| For open terminal Substations - provide dedicated secure storage facilities e.g. locked metal containers | 0 | Y
Enhanced / Additional Security Measures - options for MEDIUM & HIGH Risk Sites
| Install additional site locking facilities (e.g. lock shrouds) | 0 | N
| Enhance site surveillance via mobile patrols | 0 | N
| Install sensor equipment (e.g. movement sensors, Ground Pressure systems) | 0 | N
| Improve site lighting | 0 | N
| Install additional delineation fencing | 0 | N
| Install Surveillance equipment (e.g. CCTV, PA System) | 0 | N
| Install additional fencing security measures e.g. spinners / electric fence | 0 | N
| Install additional security features to the existing site (e.g. metal doors) | 0 | N
| Provision of personnal security presence out of hours | 0 | N
| Provision of personnal security presence 24/7 | 0 | N
| TOTAL Rating Classification of Mitigation Measures | 0
| SECURITY RISK CLASSIFICATION NUMBER= | 4.25 | LOW - See Site Security Mitigation Measures
| RATING OF MITIGATION MEASURES | 0
| RESULTANT SECURITY RISK CLASSIFICATION NUMBER | 4.25 | LOW
Security Risk Classification Category
|  |  |  | -32 | LOW
|  |  |  | 4.25 | LOW
|  |  |  | 6.4 | MEDIUM - Reconsider Security Mitigation Measures
|  |  |  | 8.5 | MEDIUM - Reconsider Security Mitigation Measures
|  |  |  | 10.6 | HIGH - Reconsider Security Mitigation Measures
|  |  |  | 12.75 | HIGH - Reconsider Security Mitigation Measures
Master
Rev 01 - 11.05.06