## Scheme Header
Scheme Submission Form for use with
NEW UNMETERED CONNECTIONS
Scheme Title |  | Notes
Scheme Ref Number
Date Submitted
Number of new unmetered connections |  | A maximum of 20 new unmetered connections can be made under the SDR's
Maximum Service length |  | The maximum permitted Service Length is 20 metres for unmetered connections
Maximum rating of any individual supply (Watts) |  | The maximum of rating of any individual unmetered connection is 1380 Watts (1.38kW)
Total connected capacity (kW)
Source Transformer rating |  | The minimum transformer rating permited for unmetered connections is 315kVA.
Please add any additional comments you may have regarding the application.

## Unmeterd - Equiv Cable lengths
Scheme Title |  | 0
Scheme Ref Number |  | 0
Date Submitted |  | 0
Table for use with UNMETERED connections only
|  | Version 1.3 | 2017-07-27
Equivalent length rebased to specific size reffered to in SDR's
Cable Size | Cable length
Conductors |  | Wf95 | Wf185 | Wf300
70Al |  | 0 | 0 | 0
95Al |  | 0 | 0 | 0
120Al |  | 0 | 0 | 0
185Al |  | 0 | 0 | 0
300Al |  | 0 | 0 | 0
0.1Al |  | 0 | 0 | 0
0.15Al |  | 0 | 0 | 0
0.2Al |  | 0 | 0 | 0
0.25Al |  | 0 | 0 | 0
0.3Al |  | 0 | 0 | 0
0.5Al |  | 0 | 0 | 0
0.06Cu |  | 0 | 0 | 0
0.075Cu |  | 0 | 0 | 0
0.1Cu |  | 0 | 0 | 0
0.15Cu |  | 0 | 0 | 0
0.2Cu |  | 0 | 0 | 0
0.25Cu |  | 0 | 0 | 0
0.3CU |  | 0 | 0 | 0
0.5Cu |  | 0 | 0 | 0
Total Equivalent lengths to be used |  | 0 | 0 | 0
Max Equivalent Lengths permitted. | For Un-Metered Services | 240 | 430 | 510

## Version Control
Version Control Sheets
Version | Date | Detail | Name
V1.0 | 2017-03-06 | Spreadsheet developed to support IMP/001/107 Standard Design Rules | Michael Catling
V1.1 | 2017-04-06 | Scheme Header Tab and title blocks added to the Equivalent Cable Lengths Tab. | Michael Catling
V1.2 | 2017-05-12 | Cable lengths amended and max service length included following SDR review. | Michael Catling
V1.3 | 2017-07-27 | Comments box added to scheme header | Michael Catling