Appendix C – Customers’ Export and Import Limitation Schemes (CLSs) Installation and Commissioning Tests

This form is available in a Microsoft Word version from the ENA’s website.

|  |
| --- |
| **G100/2 - Form C: Installation Document for Customer Export or Import Limitation Schemes (CLS)**Part 1 shall be completed for the installation.Part 2 shall be completed for (each of) the **CLS** being commissioned.  |
| **Form C Part 1** |
| To Northern PowergridOur email address is getconnected@northernpowergrid.comOur freepost address is **RTSJ-LHKB-LTST,** Northern Powergrid Connections, Alix House, Falcon Court, Preston Farm Industrial Estate, Stockton on Tees, TS18 3TU |
| **Customer Details:** |
| **Customer** (name) |  |
| Address |  |
| Post Code |  |
| Contact person (if different from **Customer**) |  |
| Telephone number |  |
| E-mail address |  |
| MPAN(s) |  |
| **Customer** signature |  |
| **Installer Details:** |
| **Name** |  |
| Accreditation / Qualification |  |
| Address  |  |
| Post Code |  |
| Contact person |  |
| Telephone Number |  |
| E-mail address |  |
| Signature |  |
| **Installation details:** |
| Address |  |
| Post code |  |
| Location within **Customer’s** **Installation** |  |
| **Summary details of Devices** within the **Customer’s Installation** |
| **Manufacturer** / Reference (including ENA Type Test Register system reference) | Date of Installation | Nature of loads, sources of energy and conversion technology etc: | **Device capacity (A)** |
| 3-Phase Units | Single Phase Units |
| PH1 | PH2 | PH3 |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

|  |
| --- |
| **Form C Part 2** |
| **Commissioning Checks** |
| **Description** | Confirmation |
| **Customer’s Installation** satisfies the requirements of BS7671 (IET Wiring Regulations)? | Yes / No\* |
| Schematic diagram and all relevant **Manufacturer**’s and **Installer**’sinformation safely retained on site? | Yes / No\* |
| Operation diagram (if required, ie for export control) displayed correctly on site? | Yes / No\* |
| Communication/Power supply failure tests? | Yes / No\* |
| **Fail Safe** Tests (Form B and/or ENA Type Test register system reference) completed successfully in full | Yes / No\*/Ref |
| Final test to confirm no inappropriate control cycling or hunting | Yes/No\* |
| Operational tests completed (Form B or **Manufacturer**’s reference) | Yes / No\*/Ref |
| \*Circle as appropriate. If “No” is selected the **CLS** is deemed to have failed the commissioning tests and the **CLS** shall not be put in service. |
| Overload or Reverse Power ProtectionIf fitted, please state settings here:Please state what tripping action the protection initiates:Confirm that the protection has been tested and please provide the test results: |
| Additional comments / observations: |
| Declaration – to be completed by **Customer** or **Installer** |
| I declare that for the **CLS**, and the installation:1. Compliance with the requirements of EREC G100 is achieved. 2. The commissioning checks detailed in this Form C have been successfully completed. |
| Name:  |
| Signature:  | Date:  |
| Company Name: |
| Position: |
| Declaration – to be completed by **DNO** Witnessing Representative if applicable. Delete if not witnessed by the **DNO** |
| I confirm that I have witnessed the commissioning checks detailed in this Form C |
| Name:  |
| Signature: | Date: |
| Company Name: |