Appendix C – Customers’ Export and Import Limitation Schemes (CLSs) Installation and Commissioning Tests

This form is available in a Microsoft Word version from the ENA’s website.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **G100/2 - Form C: Installation Document for Customer Export or Import Limitation Schemes (CLS)**  Part 1 shall be completed for the installation.  Part 2 shall be completed for (each of) the **CLS** being commissioned. | | | | | | | |
| **Form C Part 1** | | | | | | | |
| To Northern Powergrid  Our email address is getconnected@northernpowergrid.com  Our freepost address is **RTSJ-LHKB-LTST,** Northern Powergrid Connections, Alix House, Falcon Court, Preston Farm Industrial Estate, Stockton on Tees, TS18 3TU | | | | | | | |
| **Customer Details:** | | | | | | | |
| **Customer** (name) | |  | | | | | |
| Address | |  | | | | | |
| Post Code | |  | | | | | |
| Contact person (if different from **Customer**) | |  | | | | | |
| Telephone number | |  | | | | | |
| E-mail address | |  | | | | | |
| MPAN(s) | |  | | | | | |
| **Customer** signature | |  | | | | | |
| **Installer Details:** | | | | | | | |
| **Name** | |  | | | | | |
| Accreditation / Qualification | |  | | | | | |
| Address | |  | | | | | |
| Post Code | |  | | | | | |
| Contact person | |  | | | | | |
| Telephone Number | |  | | | | | |
| E-mail address | |  | | | | | |
| Signature | |  | | | | | |
| **Installation details:** | | | | | | | |
| Address | |  | | | | | |
| Post code | |  | | | | | |
| Location within **Customer’s** **Installation** | |  | | | | | |
| **Summary details of Devices** within the **Customer’s Installation** | | | | | | | |
| **Manufacturer** / Reference (including ENA Type Test Register system reference) | Date of Installation | | Nature of loads, sources of energy and conversion technology etc: | **Device capacity (A)** | | | |
| 3-Phase Units | Single Phase Units | | |
| PH1 | PH2 | PH3 |
|  |  | |  |  |  |  |  |
|  |  | |  |  |  |  |  |
|  |  | |  |  |  |  |  |
|  |  | |  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **Form C Part 2** | | |
| **Commissioning Checks** | | |
| **Description** | | Confirmation |
| **Customer’s Installation** satisfies the requirements of BS7671 (IET Wiring Regulations)? | | Yes / No\* |
| Schematic diagram and all relevant **Manufacturer**’s and **Installer**’sinformation safely retained on site? | | Yes / No\* |
| Operation diagram (if required, ie for export control) displayed correctly on site? | | Yes / No\* |
| Communication/Power supply failure tests? | | Yes / No\* |
| **Fail Safe** Tests (Form B and/or ENA Type Test register system reference) completed successfully in full | | Yes / No\*/Ref |
| Final test to confirm no inappropriate control cycling or hunting | | Yes/No\* |
| Operational tests completed (Form B or **Manufacturer**’s reference) | | Yes / No\*/Ref |
| \*Circle as appropriate. If “No” is selected the **CLS** is deemed to have failed the commissioning tests and the **CLS** shall not be put in service. | | | |
| Overload or Reverse Power Protection  If fitted, please state settings here:  Please state what tripping action the protection initiates:  Confirm that the protection has been tested and please provide the test results: | | | |
| Additional comments / observations: | | | |
| Declaration – to be completed by **Customer** or **Installer** | | | |
| I declare that for the **CLS**, and the installation:  1. Compliance with the requirements of EREC G100 is achieved.  2. The commissioning checks detailed in this Form C have been successfully completed. | | | |
| Name: | | | |
| Signature: | Date: | | |
| Company Name: |
| Position: | | | |
| Declaration – to be completed by **DNO** Witnessing Representative if applicable. Delete if not witnessed by the **DNO** | | | |
| I confirm that I have witnessed the commissioning checks detailed in this Form C | | | |
| Name: | | | |
| Signature: | Date: | | |
| Company Name: |