## Overview
Information on the Tariff Movement Explanation (TME) Template
This workbook is intended to give further detail on the information published in the CDCM model, and to give an appreciation of which areas are the main drivers for year on year changes in tariffs.
The 'Detailed Breakdown' worksheet initially shows the impact of updating each CDCM input table in turn, with the top tables (rows 7 to 30) showing the cumulative impact of all updates to that point, and the bottom tables (rows 36 to 59) the isolated impact of that step alone. Variances from a single step of more than ±5% are highlighted in red, and of more than ±3% highlighted in blue. The commentary (row 62) gives more detail on the update which has been carried out.
The 'Summary' worksheet shows the tariffs for each customer group, the average p/kWh for both 2023/24 and 2024/25 and the variance between the two, and a forecast of the total annual charge for 2024/25, along with commentary detailing the main drivers for change.

## Detailed Breakdown
| New Models |  | Input 102-A: Load factor |  | Input 102-A: Coincidence factor |  | Input 104-A: Inputs by distribution timeband |  | Input 103-A: Diversity allowance |  | Input 103-D: Peaking probabilities by network level |  | Input 103-A: Average kVAr by kVA |  | Input 103-A: Loss adjustment factors |  | Input 103-A: Proportion of load through 132kV/HV |  | Input 103-C: 500MW model |  | Input 102-D: Service model asset values |  | Input 104-B: LDNO discount inputs |  | Input 104-F: Other expenditure |  | Input 104-D: Days in charging year |  | Input 104-D: Rate of return |  | Input 104-E: Transmission Exit Charges |  | Input 103-B: Customer contributions under current connection charging policy |  | Input 102-C: Non-Domestic Aggregated (Related MPAN) distribution by bands |  | Input 102-B: Volume forecasts for the charging year |  | Input 104-C: CDCM target revenue |  | Updated
Cumulative Gradient | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Aggregated with Residual | 0.03757% | 0.0013921 | -0.1585% | -0.005875 | -0.8408% | -0.031159 | -0.8404% | -0.031143 | -0.4771% | -0.017681 | -0.5679% | -0.021047 | -0.5679% | -0.021047 | -0.5269% | -0.019525 | -0.5269% | -0.019525 | -0.6886% | -0.025518 | 7.617% | 0.28229 | 7.655% | 0.28368 | 7.73% | 0.28648 | 7.745% | 0.28701 | 7.745% | 0.28701 | 7.707% | 0.28561 | 7.707% | 0.28561 | 7.707% | 0.28561 | 11.07% | 0.43475 | 47.8% | 1.878 | 47.8% | 1.878
Domestic Aggregated (Related MPAN) | 0.004151% | 2.0263e-05 | 0.2215% | 0.0010811 | -1.944% | -0.0094916 | -1.449% | -0.0070721 | -0.3553% | -0.0017345 | 1.428% | 0.006972 | 1.428% | 0.006972 | 2.151% | 0.0105 | 2.151% | 0.0105 | 2.989% | 0.014591 | -14.04% | -0.068518 | -14.03% | -0.068498 | -13.94% | -0.068057 | -13.66% | -0.066674 | -13.66% | -0.066674 | -13.79% | -0.06732 | -13.79% | -0.06732 | -13.79% | -0.06732 | -12.33% | -0.073435 | -12.33% | -0.073435 | -12.33% | -0.073435
Non-Domestic Aggregated No Residual | 0.06187% | 0.0012637 | 2.443% | 0.049888 | 3.42% | 0.069862 | 3.476% | 0.071004 | 4.392% | 0.089708 | 4.547% | 0.09287 | 4.547% | 0.09287 | 4.886% | 0.099789 | 4.886% | 0.099789 | 5.322% | 0.1087 | 3.413% | 0.069719 | 3.413% | 0.069719 | 3.587% | 0.073271 | 3.761% | 0.076809 | 3.761% | 0.076809 | 3.576% | 0.073032 | 3.576% | 0.073032 | 3.576% | 0.073032 | 9.047% | 0.17147 | 10.55% | 0.19989 | 10.55% | 0.19989
Non-Domestic Aggregated Band 1 | 0.01142% | 0.0005394 | 0.8669% | 0.040944 | 1.424% | 0.067266 | 1.393% | 0.065809 | 1.734% | 0.081915 | 1.841% | 0.086951 | 1.841% | 0.086951 | 1.813% | 0.085648 | 1.813% | 0.085648 | 1.528% | 0.07219 | 12.65% | 0.59745 | 12.65% | 0.59745 | 12.79% | 0.60403 | 12.8% | 0.6044 | 12.8% | 0.6044 | 12.77% | 0.60322 | 12.77% | 0.60322 | 12.83% | 0.60581 | 25.02% | 0.99431 | 61.72% | 2.4529 | 61.72% | 2.4529
Non-Domestic Aggregated Band 2 | 0.03234% | 0.0010314 | 1.425% | 0.045444 | 2.129% | 0.067907 | 2.15% | 0.068557 | 2.613% | 0.08333 | 2.736% | 0.087242 | 2.736% | 0.087242 | 2.836% | 0.090433 | 2.836% | 0.090433 | 2.781% | 0.088701 | -0.6211% | -0.019806 | -0.6056% | -0.019314 | -0.6241% | -0.019903 | -0.579% | -0.018465 | -0.579% | -0.018465 | -0.6052% | -0.019299 | -0.6052% | -0.019299 | -0.5898% | -0.018809 | 2.141% | 0.072171 | 43.53% | 1.4674 | 43.53% | 1.4674
Non-Domestic Aggregated Band 3 | 0.03143% | 0.00093503 | 1.54% | 0.04581 | 2.289% | 0.068096 | 2.307% | 0.068645 | 2.803% | 0.083398 | 2.918% | 0.086823 | 2.932% | 0.087218 | 3.064% | 0.09117 | 3.064% | 0.09117 | 3.06% | 0.091046 | -3.566% | -0.10609 | -3.559% | -0.10589 | -3.606% | -0.10728 | -3.549% | -0.1056 | -3.549% | -0.1056 | -3.57% | -0.10622 | -3.57% | -0.10622 | -3.577% | -0.10642 | -0.5443% | -0.016918 | 43.98% | 1.3669 | 43.98% | 1.3669
Non-Domestic Aggregated Band 4 | 0.02556% | 0.00073594 | 1.6% | 0.04608 | 2.364% | 0.068083 | 2.386% | 0.068701 | 2.89% | 0.083235 | 3.013% | 0.086778 | 3.02% | 0.086975 | 3.173% | 0.091367 | 3.173% | 0.091367 | 3.193% | 0.091943 | -5.039% | -0.14512 | -5.03% | -0.14486 | -5.096% | -0.14674 | -5.039% | -0.1451 | -5.039% | -0.1451 | -5.059% | -0.14568 | -5.059% | -0.14568 | -5.066% | -0.14588 | -2.893% | -0.087749 | 42.58% | 1.2912 | 42.58% | 1.2912
Non-Domestic Aggregated (Related MPAN) | 0.02622% | 0.00018635 | 3.401% | 0.024177 | 4.639% | 0.032975 | 4.969% | 0.035322 | 6.213% | 0.044166 | 6.796% | 0.048309 | 6.796% | 0.048309 | 7.358% | 0.0523 | 7.358% | 0.0523 | 8.28% | 0.058853 | -9.125% | -0.064863 | -9.125% | -0.064863 | -9.053% | -0.064349 | -8.787% | -0.062461 | -8.787% | -0.062461 | -8.991% | -0.063912 | -8.991% | -0.063912 | -8.991% | -0.063912 | -5.722% | -0.040404 | -5.722% | -0.040404 | -5.722% | -0.040404
LV Site Specific No Residual | 0.003982% | 0.00011672 | 0.1368% | 0.0040105 | 0.4961% | 0.014543 | 0.5217% | 0.015292 | -0.36% | -0.010554 | -0.01989% | -0.00058291 | -0.04046% | -0.001186 | 0.1712% | 0.0050187 | 0.1712% | 0.0050187 | 3.317% | 0.097227 | -19.71% | -0.57784 | -19.71% | -0.57772 | -19.4% | -0.56853 | -19.44% | -0.56987 | -19.44% | -0.56987 | -19.55% | -0.57296 | -19.55% | -0.57296 | -19.55% | -0.57296 | -20.66% | -1.11 | -20.49% | -1.1009 | -20.49% | -1.1009
LV Site Specific Band 1 | 0.01017% | 0.0002963 | -0.02262% | -0.00065869 | 0.4494% | 0.013088 | 0.4551% | 0.013253 | 0.4381% | 0.01276 | 0.6213% | 0.018093 | 0.6083% | 0.017714 | 0.6639% | 0.019335 | 0.6639% | 0.019335 | 1.205% | 0.03509 | -8.902% | -0.25926 | -8.892% | -0.25897 | -8.908% | -0.25942 | -8.926% | -0.25994 | -8.926% | -0.25994 | -8.923% | -0.25985 | -8.923% | -0.25985 | -8.923% | -0.25985 | -7.858% | -0.24819 | 36.31% | 1.1468 | 36.31% | 1.1468
LV Site Specific Band 2 | 0.009987% | 0.00029597 | -0.01716% | -0.00050862 | 0.4427% | 0.013119 | 0.4484% | 0.01329 | 0.3708% | 0.01099 | 0.5627% | 0.016677 | 0.5498% | 0.016293 | 0.609% | 0.018048 | 0.609% | 0.018048 | 1.307% | 0.038742 | -9.341% | -0.27684 | -9.331% | -0.27655 | -9.339% | -0.27676 | -9.36% | -0.27741 | -9.36% | -0.27741 | -9.357% | -0.2773 | -9.357% | -0.2773 | -9.357% | -0.2773 | -9.225% | -0.2956 | 33.98% | 1.0888 | 33.98% | 1.0888
LV Site Specific Band 3 | 0.01042% | 0.00031774 | -0.02012% | -0.00061358 | 0.4287% | 0.013074 | 0.4339% | 0.013233 | 0.3145% | 0.0095912 | 0.51% | 0.015552 | 0.4977% | 0.015176 | 0.5521% | 0.016836 | 0.5521% | 0.016836 | 1.315% | 0.040098 | -9.521% | -0.29035 | -9.511% | -0.29003 | -9.515% | -0.29017 | -9.541% | -0.29097 | -9.541% | -0.29097 | -9.534% | -0.29075 | -9.534% | -0.29075 | -9.534% | -0.29075 | -9.14% | -0.2987 | 34.66% | 1.1328 | 34.66% | 1.1328
LV Site Specific Band 4 | 0.01122% | 0.00035939 | -0.04042% | -0.0012941 | 0.4015% | 0.012854 | 0.404% | 0.012934 | 0.2928% | 0.0093754 | 0.4795% | 0.015353 | 0.4686% | 0.015005 | 0.5015% | 0.016056 | 0.5015% | 0.016056 | 1.135% | 0.036338 | -8.897% | -0.28485 | -8.886% | -0.28449 | -8.911% | -0.2853 | -8.942% | -0.28629 | -8.942% | -0.28629 | -8.92% | -0.28561 | -8.92% | -0.28561 | -8.92% | -0.28561 | -4.781% | -0.16333 | 46.07% | 1.5738 | 46.07% | 1.5738
LV Sub Site Specific No Residual | 0% | 0 | -0.3577% | -0.36322 | 0.02006% | 0.020367 | 0.02046% | 0.020773 | -5.607% | -5.6931 | -5.606% | -5.692 | -5.606% | -5.6923 | -5.61% | -5.6957 | -5.61% | -5.6957 | -3.503% | -3.5565 | -24.3% | -24.6704 | -24.3% | -24.6704 | -24.3% | -24.6687 | -24.15% | -24.5202 | -24.15% | -24.5202 | -24.15% | -24.5228 | -24.15% | -24.5228 | -24.15% | -24.5228 | -19.43% | -1.0268 | -19.31% | -1.0206 | -19.31% | -1.0206
LV Sub Site Specific Band 1 | 0.005503% | 8.8009e-05 | -0.5301% | -0.0084772 | 1.27% | 0.020308 | 1.277% | 0.020428 | 0.6128% | 0.0098005 | 0.7152% | 0.011438 | 0.7028% | 0.011239 | 0.454% | 0.0072615 | 0.454% | 0.0072615 | 0.3935% | 0.006293 | -8.469% | -0.13544 | -8.463% | -0.13536 | -8.553% | -0.13678 | -8.508% | -0.13607 | -8.508% | -0.13607 | -8.574% | -0.13712 | -8.574% | -0.13712 | -8.574% | -0.13712 | -10.62% | -0.16775 | 14.15% | 0.22366 | 14.15% | 0.22366
LV Sub Site Specific Band 2 | 0.005601% | 9.4223e-05 | -0.521% | -0.0087646 | 1.204% | 0.020259 | 1.21% | 0.020362 | 0.4099% | 0.0068962 | 0.5095% | 0.0085713 | 0.498% | 0.0083775 | 0.2547% | 0.0042841 | 0.2547% | 0.0042841 | 0.2535% | 0.0042655 | -8.703% | -0.14641 | -8.697% | -0.14631 | -8.793% | -0.14792 | -8.749% | -0.14719 | -8.749% | -0.14719 | -8.804% | -0.14812 | -8.804% | -0.14812 | -8.804% | -0.14812 | -9.359% | -0.15048 | 23.92% | 0.38455 | 23.92% | 0.38455
LV Sub Site Specific Band 3 | 0.005975% | 0.00010254 | -0.5166% | -0.0088656 | 1.181% | 0.02027 | 1.187% | 0.020376 | 0.2792% | 0.0047914 | 0.3769% | 0.0064684 | 0.3657% | 0.0062756 | 0.1282% | 0.0021992 | 0.1282% | 0.0021992 | 0.1789% | 0.0030704 | -9.036% | -0.15507 | -9.03% | -0.15497 | -9.126% | -0.1566 | -9.08% | -0.15582 | -9.08% | -0.15582 | -9.134% | -0.15674 | -9.134% | -0.15674 | -9.134% | -0.15674 | -8.309% | -0.14186 | 29.97% | 0.51174 | 29.97% | 0.51174
LV Sub Site Specific Band 4 | 0.007007% | 0.0001505 | -0.4883% | -0.010488 | 0.9281% | 0.019935 | 0.9277% | 0.019926 | -0.2774% | -0.0059587 | -0.1896% | -0.0040716 | -0.1966% | -0.0042227 | -0.4286% | -0.0092068 | -0.4286% | -0.0092068 | -0.3292% | -0.0070716 | -9.294% | -0.19963 | -9.287% | -0.19948 | -9.397% | -0.20185 | -9.365% | -0.20116 | -9.365% | -0.20116 | -9.378% | -0.20143 | -9.378% | -0.20143 | -9.378% | -0.20143 | -5.445% | -0.11254 | 38.81% | 0.80215 | 38.81% | 0.80215
HV Site Specific No Residual | 0.005064% | 0.0004065 | -0.3746% | -0.030075 | -0.2683% | -0.02154 | -0.2742% | -0.022013 | -4.336% | -0.34811 | -4.311% | -0.34609 | -4.316% | -0.34649 | -4.426% | -0.35535 | -4.426% | -0.35535 | -3.902% | -0.31327 | -11.01% | -0.88363 | -11% | -0.88303 | -10.89% | -0.87405 | -10.8% | -0.86696 | -10.8% | -0.86696 | -10.83% | -0.86947 | -10.83% | -0.86947 | -10.83% | -0.86947 | -11.44% | -0.90381 | -11.41% | -0.90102 | -11.41% | -0.90102
HV Site Specific Band 1 | 0.01583% | 0.00036093 | -0.3382% | -0.0077094 | -0.07667% | -0.0017478 | -0.08599% | -0.0019603 | -0.9613% | -0.021913 | -0.8804% | -0.02007 | -0.8884% | -0.020252 | -1.141% | -0.026007 | -1.141% | -0.026007 | -1.66% | -0.037831 | -5.576% | -0.12711 | -5.559% | -0.12672 | -5.685% | -0.12959 | -5.701% | -0.12996 | -5.701% | -0.12996 | -5.671% | -0.12928 | -5.671% | -0.12928 | -5.671% | -0.12928 | -6.867% | -0.18398 | 44.95% | 1.2043 | 44.95% | 1.2043
HV Site Specific Band 2 | 0.01524% | 0.00035234 | -0.3329% | -0.0076967 | -0.08575% | -0.0019825 | -0.09339% | -0.0021592 | -1.187% | -0.027453 | -1.11% | -0.025653 | -1.117% | -0.025835 | -1.353% | -0.031284 | -1.353% | -0.031284 | -1.74% | -0.040229 | -7.867% | -0.18189 | -7.851% | -0.18152 | -7.989% | -0.18472 | -7.995% | -0.18485 | -7.995% | -0.18485 | -7.966% | -0.18417 | -7.966% | -0.18417 | -7.966% | -0.18417 | -2.621% | -0.062559 | 54.91% | 1.3108 | 54.91% | 1.3108
HV Site Specific Band 3 | 0.01497% | 0.00035004 | -0.3315% | -0.0077528 | -0.09025% | -0.0021105 | -0.0973% | -0.0022755 | -1.285% | -0.030063 | -1.209% | -0.028274 | -1.217% | -0.028455 | -1.446% | -0.033819 | -1.446% | -0.033819 | -1.783% | -0.041698 | -8.643% | -0.20212 | -8.627% | -0.20176 | -8.768% | -0.20506 | -8.77% | -0.20509 | -8.77% | -0.20509 | -8.741% | -0.20442 | -8.741% | -0.20442 | -8.741% | -0.20442 | -2.975% | -0.0714 | 54.04% | 1.2968 | 54.04% | 1.2968
HV Site Specific Band 4 | 0.01507% | 0.00034708 | -0.3301% | -0.0076032 | -0.08742% | -0.0020138 | -0.09427% | -0.0021715 | -1.248% | -0.028737 | -1.17% | -0.02696 | -1.178% | -0.02714 | -1.408% | -0.032439 | -1.408% | -0.032439 | -1.75% | -0.040302 | -8.795% | -0.2026 | -8.779% | -0.20223 | -8.926% | -0.2056 | -8.928% | -0.20565 | -8.928% | -0.20565 | -8.898% | -0.20498 | -8.898% | -0.20498 | -8.898% | -0.20498 | -6.549% | -0.16019 | 49.01% | 1.1987 | 49.01% | 1.1987
Unmetered Supplies | 0.002177% | 5.7e-05 | -3.842% | -0.10062 | 2.524% | 0.06609 | 2.331% | 0.061055 | 2.801% | 0.073344 | 2.211% | 0.057887 | 2.213% | 0.057944 | 2.333% | 0.061104 | 2.333% | 0.061104 | 2.628% | 0.068818 | -6.521% | -0.17076 | -6.509% | -0.17045 | -6.584% | -0.17242 | -6.578% | -0.17225 | -6.578% | -0.17225 | -6.568% | -0.17199 | -6.568% | -0.17199 | -6.568% | -0.17199 | -3.788% | -0.1028 | 46.63% | 1.2652 | 46.63% | 1.2652
| New Models |  | Input 102-A: Load factor |  | Input 102-A: Coincidence factor |  | Input 104-A: Inputs by distribution timeband |  | Input 103-A: Diversity allowance |  | Input 103-D: Peaking probabilities by network level |  | Input 103-A: Average kVAr by kVA |  | Input 103-A: Loss adjustment factors |  | Input 103-A: Proportion of load through 132kV/HV |  | Input 103-C: 500MW model |  | Input 102-D: Service model asset values |  | Input 104-B: LDNO discount inputs |  | Input 104-F: Other expenditure |  | Input 104-D: Days in charging year |  | Input 104-D: Rate of return |  | Input 104-E: Transmission Exit Charges |  | Input 103-B: Customer contributions under current connection charging policy |  | Input 102-C: Non-Domestic Aggregated (Related MPAN) distribution by bands |  | Input 102-B: Volume forecasts for the charging year |  | Input 104-C: CDCM target revenue |  | Updated
Step Gradient | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) |  |  | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Aggregated with Residual | 0.03757% | 0.0013921 | -0.1961% | -0.0072671 | -0.6823% | -0.025284 | 0.0004356% | 1.6143e-05 | 0.3633% | 0.013462 | -0.09082% | -0.0033657 | 0% | 0 | 0.04105% | 0.0015214 | 0% | 0 | -0.1617% | -0.0059931 | 8.306% | 0.30781 | 0.03757% | 0.0013921 | 0.0755% | 0.0027981 | 0.01425% | 0.00052812 | 0% | 0 | -0.03773% | -0.0013981 | 0% | 0 | 0% | 0 | 3.359% | 0.14915 | 36.74% | 1.4433 | 47.8% | 1.878
Domestic Aggregated (Related MPAN) | 0.004151% | 2.0263e-05 | 0.2173% | 0.0010608 | -2.166% | -0.010573 | 0.4956% | 0.0024195 | 1.093% | 0.0053376 | 1.784% | 0.0087064 | 0% | 0 | 0.7228% | 0.0035282 | 0% | 0 | 0.838% | 0.0040908 | -17.03% | -0.083109 | 0.004151% | 2.0263e-05 | 0.09035% | 0.00044105 | 0.2832% | 0.0013826 | 0% | 0 | -0.1323% | -0.00064604 | 0% | 0 | 0% | 0 | 1.459% | -0.0061143 | 0% | 0 | -12.33% | -0.073435
Non-Domestic Aggregated No Residual | 0.06187% | 0.0012637 | 2.381% | 0.048625 | 0.9779% | 0.019973 | 0.05592% | 0.0011421 | 0.9158% | 0.018704 | 0.1548% | 0.0031618 | 0% | 0 | 0.3387% | 0.0069187 | 0% | 0 | 0.4362% | 0.0089088 | -1.908% | -0.038978 | 0% | 0 | 0.1739% | 0.0035517 | 0.1732% | 0.0035381 | 0% | 0 | -0.1849% | -0.0037765 | 0% | 0 | 0% | 0 | 5.472% | 0.098442 | 1.499% | 0.028416 | 10.55% | 0.19989
Non-Domestic Aggregated Band 1 | 0.01142% | 0.0005394 | 0.8555% | 0.040404 | 0.5573% | 0.026322 | -0.03085% | -0.001457 | 0.341% | 0.016106 | 0.1066% | 0.0050361 | 0% | 0 | -0.0276% | -0.0013035 | 0% | 0 | -0.285% | -0.013458 | 11.12% | 0.52526 | 0% | 0 | 0.1392% | 0.0065766 | 0.007891% | 0.00037272 | 0% | 0 | -0.02509% | -0.0011849 | 0% | 0 | 0.05488% | 0.0025918 | 12.19% | 0.3885 | 36.7% | 1.4586 | 61.72% | 2.4529
Non-Domestic Aggregated Band 2 | 0.03234% | 0.0010314 | 1.393% | 0.044413 | 0.7044% | 0.022463 | 0.02038% | 0.0006498 | 0.4632% | 0.014773 | 0.1227% | 0.0039118 | 0% | 0 | 0.1001% | 0.003191 | 0% | 0 | -0.05431% | -0.0017319 | -3.402% | -0.10851 | 0.01542% | 0.00049188 | -0.01846% | -0.00058858 | 0.04507% | 0.0014373 | 0% | 0 | -0.02616% | -0.00083415 | 0% | 0 | 0.01538% | 0.00049054 | 2.731% | 0.09098 | 41.39% | 1.3952 | 43.53% | 1.4674
Non-Domestic Aggregated Band 3 | 0.03143% | 0.00093503 | 1.508% | 0.044875 | 0.7491% | 0.022286 | 0.01843% | 0.00054836 | 0.4959% | 0.014753 | 0.1151% | 0.0034248 | 0.01329% | 0.00039552 | 0.1328% | 0.003952 | 0% | 0 | -0.004164% | -0.0001239 | -6.626% | -0.19714 | 0.006647% | 0.00019776 | -0.04671% | -0.0013897 | 0.05661% | 0.0016842 | 0% | 0 | -0.0209% | -0.00062191 | 0% | 0 | -0.006629% | -0.00019722 | 3.033% | 0.089501 | 44.52% | 1.3838 | 43.98% | 1.3669
Non-Domestic Aggregated Band 4 | 0.02556% | 0.00073594 | 1.575% | 0.045344 | 0.7641% | 0.022003 | 0.02145% | 0.00061756 | 0.5047% | 0.014535 | 0.123% | 0.0035431 | 0.00681% | 0.00019611 | 0.1525% | 0.0043923 | 0% | 0 | 0.02002% | 0.00057639 | -8.232% | -0.23706 | 0.00908% | 0.00026148 | -0.06558% | -0.0018886 | 0.05713% | 0.0016453 | 0% | 0 | -0.02033% | -0.00058557 | 0% | 0 | -0.006791% | -0.00019557 | 2.172% | 0.058131 | 45.47% | 1.379 | 42.58% | 1.2912
Non-Domestic Aggregated (Related MPAN) | 0.02622% | 0.00018635 | 3.375% | 0.023991 | 1.238% | 0.0087977 | 0.3302% | 0.0023472 | 1.244% | 0.0088435 | 0.5829% | 0.0041434 | 0% | 0 | 0.5615% | 0.003991 | 0% | 0 | 0.9219% | 0.0065532 | -17.41% | -0.12372 | 0% | 0 | 0.07235% | 0.00051429 | 0.2656% | 0.001888 | 0% | 0 | -0.2042% | -0.0014512 | 0% | 0 | 0% | 0 | 3.269% | 0.023508 | 0% | 0 | -5.722% | -0.040404
LV Site Specific No Residual | 0.003982% | 0.00011672 | 0.1328% | 0.0038938 | 0.3593% | 0.010533 | 0.02554% | 0.00074874 | -0.8817% | -0.025846 | 0.3402% | 0.0099713 | -0.02057% | -0.0006031 | 0.2117% | 0.0062047 | 0% | 0 | 3.146% | 0.092208 | -23.03% | -0.67507 | 0.003982% | 0.00011672 | 0.3135% | 0.0091888 | -0.04554% | -0.001335 | 0% | 0 | -0.1055% | -0.003092 | 0% | 0 | 0% | 0 | -1.113% | -0.53699 | 0.1686% | 0.0090578 | -20.49% | -1.1009
LV Site Specific Band 1 | 0.01017% | 0.0002963 | -0.03279% | -0.00095499 | 0.472% | 0.013747 | 0.005663% | 0.00016492 | -0.01695% | -0.00049369 | 0.1831% | 0.0053336 | -0.013% | -0.00037865 | 0.05563% | 0.0016202 | 0% | 0 | 0.541% | 0.015756 | -10.11% | -0.29435 | 0.01017% | 0.0002963 | -0.01553% | -0.00045241 | -0.01774% | -0.00051652 | 0% | 0 | 0.00295% | 8.5911e-05 | 0% | 0 | 0% | 0 | 1.065% | 0.01166 | 44.17% | 1.395 | 36.31% | 1.1468
LV Site Specific Band 2 | 0.009987% | 0.00029597 | -0.02715% | -0.00080459 | 0.4598% | 0.013627 | 0.005769% | 0.00017096 | -0.07759% | -0.0022996 | 0.1919% | 0.0056871 | -0.01296% | -0.00038405 | 0.05921% | 0.0017546 | 0% | 0 | 0.6983% | 0.020695 | -10.65% | -0.31559 | 0.009987% | 0.00029597 | -0.007249% | -0.00021484 | -0.02174% | -0.00064424 | 0% | 0 | 0.00353% | 0.00010461 | 0% | 0 | 0% | 0 | 0.1319% | -0.018294 | 43.2% | 1.3844 | 33.98% | 1.0888
LV Site Specific Band 3 | 0.01042% | 0.00031774 | -0.03054% | -0.00093132 | 0.4488% | 0.013687 | 0.005212% | 0.00015895 | -0.1194% | -0.0036416 | 0.1955% | 0.0059604 | -0.01231% | -0.00037529 | 0.05442% | 0.0016594 | 0% | 0 | 0.7628% | 0.023262 | -10.84% | -0.33044 | 0.01042% | 0.00031774 | -0.004556% | -0.00013893 | -0.0262% | -0.00079894 | 0% | 0 | 0.007276% | 0.00022188 | 0% | 0 | 0% | 0 | 0.3945% | -0.0079562 | 43.8% | 1.4315 | 34.66% | 1.1328
LV Site Specific Band 4 | 0.01122% | 0.00035939 | -0.05164% | -0.0016535 | 0.4419% | 0.014148 | 0.002488% | 7.9657e-05 | -0.1111% | -0.0035586 | 0.1867% | 0.0059779 | -0.01089% | -0.00034862 | 0.03284% | 0.0010513 | 0% | 0 | 0.6335% | 0.020282 | -10.03% | -0.32119 | 0.01122% | 0.00035939 | -0.02526% | -0.00080871 | -0.03085% | -0.00098773 | 0% | 0 | 0.02138% | 0.00068439 | 0% | 0 | 0% | 0 | 4.139% | 0.12227 | 50.85% | 1.7371 | 46.07% | 1.5738
LV Sub Site Specific No Residual | 0% | 0 | -0.3577% | -0.36322 | 0.3778% | 0.38359 | 0.0004003% | 0.00040642 | -5.627% | -5.7139 | 0.001093% | 0.0011099 | -0.0003043% | -0.00030896 | -0.003325% | -0.003376 | 0% | 0 | 2.107% | 2.1392 | -20.79% | -21.1139 | 0% | 0 | 0.001677% | 0.0017026 | 0.1462% | 0.14845 | 0% | 0 | -0.00257% | -0.0026099 | 0% | 0 | 0% | 0 | 4.722% | 23.4961 | 0.117% | 0.0061847 | -19.31% | -1.0206
LV Sub Site Specific Band 1 | 0.005503% | 8.8009e-05 | -0.5356% | -0.0085652 | 1.8% | 0.028785 | 0.007527% | 0.00012039 | -0.6645% | -0.010628 | 0.1024% | 0.0016379 | -0.01244% | -0.00019895 | -0.2487% | -0.003978 | 0% | 0 | -0.06056% | -0.00096854 | -8.862% | -0.14174 | 0.005503% | 8.8009e-05 | -0.08917% | -0.0014261 | 0.04471% | 0.000715 | 0% | 0 | -0.06578% | -0.001052 | 0% | 0 | 0% | 0 | -2.043% | -0.030631 | 24.77% | 0.39141 | 14.15% | 0.22366
LV Sub Site Specific Band 2 | 0.005601% | 9.4223e-05 | -0.5266% | -0.0088589 | 1.725% | 0.029024 | 0.006111% | 0.0001028 | -0.8005% | -0.013466 | 0.09957% | 0.0016751 | -0.01152% | -0.0001938 | -0.2433% | -0.0040934 | 0% | 0 | -0.001107% | -1.8628e-05 | -8.956% | -0.15067 | 0.005601% | 9.4223e-05 | -0.09559% | -0.0016081 | 0.0436% | 0.00073357 | 0% | 0 | -0.05522% | -0.00092896 | 0% | 0 | 0% | 0 | -0.5549% | -0.0023648 | 33.28% | 0.53503 | 23.92% | 0.38455
LV Sub Site Specific Band 3 | 0.005975% | 0.00010254 | -0.5226% | -0.0089681 | 1.698% | 0.029136 | 0.006154% | 0.0001056 | -0.9082% | -0.015585 | 0.09772% | 0.001677 | -0.01123% | -0.00019275 | -0.2375% | -0.0040765 | 0% | 0 | 0.05077% | 0.00087117 | -9.215% | -0.15814 | 0.005975% | 0.00010254 | -0.0953% | -0.0016354 | 0.04581% | 0.00078619 | 0% | 0 | -0.05357% | -0.0009193 | 0% | 0 | 0% | 0 | 0.8244% | 0.014875 | 38.28% | 0.6536 | 29.97% | 0.51174
LV Sub Site Specific Band 4 | 0.007007% | 0.0001505 | -0.4953% | -0.010639 | 1.416% | 0.030424 | -0.0004169% | -8.9555e-06 | -1.205% | -0.025885 | 0.08786% | 0.0018871 | -0.007035% | -0.00015111 | -0.232% | -0.0049841 | 0% | 0 | 0.0994% | 0.0021352 | -8.965% | -0.19256 | 0.007007% | 0.0001505 | -0.1104% | -0.002371 | 0.03194% | 0.00068617 | 0% | 0 | -0.01255% | -0.00026959 | 0% | 0 | 0% | 0 | 3.933% | 0.088889 | 44.25% | 0.91469 | 38.81% | 0.80215
HV Site Specific No Residual | 0.005064% | 0.0004065 | -0.3797% | -0.030481 | 0.1063% | 0.0085349 | -0.005895% | -0.0004732 | -4.062% | -0.3261 | 0.02523% | 0.0020254 | -0.004971% | -0.00039909 | -0.1103% | -0.0088573 | 0% | 0 | 0.5241% | 0.042074 | -7.105% | -0.57036 | 0.007503% | 0.00060231 | 0.1118% | 0.0089787 | 0.08829% | 0.0070875 | 0% | 0 | -0.03126% | -0.0025095 | 0% | 0 | 0% | 0 | -0.6112% | -0.034345 | 0.03542% | 0.002798 | -11.41% | -0.90102
HV Site Specific Band 1 | 0.01583% | 0.00036093 | -0.354% | -0.0080703 | 0.2615% | 0.0059615 | -0.009319% | -0.00021244 | -0.8753% | -0.019953 | 0.08084% | 0.0018428 | -0.007983% | -0.00018197 | -0.2524% | -0.0057547 | 0% | 0 | -0.5187% | -0.011824 | -3.916% | -0.089279 | 0.01692% | 0.00038575 | -0.1258% | -0.0028674 | -0.01614% | -0.00036801 | 0% | 0 | 0.02967% | 0.0006763 | 0% | 0 | 0% | 0 | -1.196% | -0.054698 | 51.82% | 1.3883 | 44.95% | 1.2043
HV Site Specific Band 2 | 0.01524% | 0.00035234 | -0.3481% | -0.008049 | 0.2471% | 0.0057142 | -0.00764% | -0.00017664 | -1.094% | -0.025294 | 0.07785% | 0.0017999 | -0.007834% | -0.00018113 | -0.2357% | -0.0054491 | 0% | 0 | -0.3869% | -0.0089453 | -6.127% | -0.14166 | 0.01607% | 0.0003715 | -0.1386% | -0.0032036 | -0.005524% | -0.00012772 | 0% | 0 | 0.02915% | 0.00067398 | 0% | 0 | 0% | 0 | 5.345% | 0.12162 | 57.53% | 1.3733 | 54.91% | 1.3108
HV Site Specific Band 3 | 0.01497% | 0.00035004 | -0.3465% | -0.0081028 | 0.2413% | 0.0056422 | -0.007053% | -0.00016494 | -1.188% | -0.027788 | 0.07649% | 0.0017888 | -0.007706% | -0.00018021 | -0.2294% | -0.0053649 | 0% | 0 | -0.3369% | -0.0078782 | -6.86% | -0.16043 | 0.01575% | 0.00036839 | -0.1411% | -0.0032991 | -0.001493% | -3.4917e-05 | 0% | 0 | 0.02876% | 0.00067267 | 0% | 0 | 0% | 0 | 5.765% | 0.13302 | 57.02% | 1.3682 | 54.04% | 1.2968
HV Site Specific Band 4 | 0.01507% | 0.00034708 | -0.3451% | -0.0079503 | 0.2426% | 0.0055894 | -0.006848% | -0.00015774 | -1.153% | -0.026565 | 0.07715% | 0.0017771 | -0.007823% | -0.0001802 | -0.23% | -0.005299 | 0% | 0 | -0.3414% | -0.0078634 | -7.045% | -0.16229 | 0.01584% | 0.00036487 | -0.1464% | -0.0033727 | -0.001947% | -4.4845e-05 | 0% | 0 | 0.02917% | 0.00067191 | 0% | 0 | 0% | 0 | 2.349% | 0.044787 | 55.56% | 1.3589 | 49.01% | 1.1987
Unmetered Supplies | 0.002177% | 5.7e-05 | -3.844% | -0.10067 | 6.366% | 0.1667 | -0.1923% | -0.005035 | 0.4693% | 0.012289 | -0.5903% | -0.015457 | 0.002177% | 5.7e-05 | 0.1207% | 0.00316 | 0% | 0 | 0.2946% | 0.0077145 | -9.149% | -0.23958 | 0.01201% | 0.0003145 | -0.07538% | -0.001974 | 0.006415% | 0.000168 | 0% | 0 | 0.01014% | 0.0002655 | 0% | 0 | 0% | 0 | 2.779% | 0.06919 | 50.42% | 1.368 | 46.63% | 1.2652
Comment | Change represents DCP 395 impact. |  | Load factors updated based on the latest available three years of consumption data (2019/20, 2020/21 and 2021/22). |  | Coincidence factors updated based on the latest available three years of consumption data (2019/20, 2020/21 and 2021/22). |  | Updated for number of hours in timebands for 2024/25. |  | Updated based on the latest available three years of network data (2019/20, 2020/21 and 2021/22). |  | Updated based on the latest available three years of network data (2019/20, 2020/21 and 2021/22). |  | Updated values based on 2021/22 network data. |  | Losses updated using the latest available information from our 2022 losses submission. |  | No change - input remains zero as there are no 132kV/HV assets in the 500MW Model. |  | Updated from 2023/24 values to the latest available information. |  | Updated from 2023/24 values to the latest available information. |  | LDNO discounts vary slightly from those used for 2023/24 charges due to changes to the HV and LV split values. |  | Updated view of 2024/25 Direct and Indirect Costs, and updated forecast of 2024/25 Network Rates. |  | Updated days in charging year for 2024/25. |  | Rate of return remained at 3.74%. |  | Updated forecast of 2024/25 exit charges. |  | No change - this input remains the subject of industry discussions, with input values being held at current values. |  | Updated forecast of 2024/25 units. |  | Updated forecast of 2024/25 units. |  | Updated forecast of 2024/25 allowances.
CDCM Tariff Movement - Northern Powergrid (Northeast)

## Summary
| 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | 9 | 10 | 9 | 9 |  | 10
Northern Powergrid (Northeast) - April 2024 - LV/HV Final charges | [10 empty] | Commentary
| Open LLFCs | PCs | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/ day | Capacity charge p/kVA/day | Excess capacity charge p/kVA/day | Reactive power charge p/kVArh | Closed LLFCs | 2024/25 Average p/kWh | 2023/24 Average p/kWh | Percentage change % | 2024/25 Typical Annual Bill (£) | Main drivers for change
Domestic Aggregated with Residual | 1A, 1, 2, 249 | 0, 1, 2 | 6.126 | 0.942 | 0.189 | 32.82 | 0 | 0 | 0 | 998, 999 | 5.8069 | 3.9288 | 47.8% | 154.9309 | The Domestic Aggregated with Residual customer group is seeing an increase of 47.8%. This is primarily as a result of an increase of 36.7% driven by increased allowed revenue, an increase of 8.3% driven by the HV and LV service models, and an increase of 3.4% driven by the volumes forecast.
Domestic Aggregated (Related MPAN) | 3A, 12 | 2 | 6.126 | 0.942 | 0.189 | 0 | 0 | 0 | 0 | 0 | 0.52203 | 0.59547 | -12.33% | 19.7681 | The Domestic Aggregated (Related MPAN) customer group is seeing a decrease of 12.3%. This is primarily as a result of a decrease of 17.0% driven by the HV and LV service models, and a decrease of 2.2% driven by the coincidence factor.
Non-Domestic Aggregated No Residual | 2Z | 0, 3, 4, 5-8 | 7.177 | 1.103 | 0.221 | 10.8 | 0 | 0 | 0 | 0 | 2.0952 | 1.8953 | 10.55% | 96.8851 | The Non-Domestic Aggregated No Residual customer group is seeing an increase of 10.5%. This is primarily as a result of an increase of 5.5% driven by the volumes forecast, an increase of 2.4% driven by the load factor, and an increase of 1.5% driven by increased allowed revenue, offset by a decrease of 1.9% driven by the HV and LV service models.
Non-Domestic Aggregated Band 1 | 2A | 0, 3, 4, 5-8 | 7.177 | 1.103 | 0.221 | 25.08 | 0 | 0 | 0 | 0 | 6.4274 | 3.9745 | 61.72% | 117.2501 | The Non-Domestic Aggregated Band 1 customer group is seeing an increase of 61.7%. This is primarily as a result of an increase of 36.7% driven by increased allowed revenue, an increase of 12.2% driven by the volumes forecast, and an increase of 11.1% driven by the HV and LV service models.
Non-Domestic Aggregated Band 2 | 2B | 0, 3, 4, 5-8 | 7.177 | 1.103 | 0.221 | 62.54 | 0 | 0 | 0 | 0 | 4.8386 | 3.3712 | 43.53% | 322.533 | The Non-Domestic Aggregated Band 2 customer group is seeing an increase of 43.5%. This is primarily as a result of an increase of 41.4% driven by increased allowed revenue, an increase of 2.7% driven by the volumes forecast, and an increase of 1.4% driven by the load factor, offset by a decrease of 3.4% driven by the HV and LV service models.
Non-Domestic Aggregated Band 3 | 2C | 0, 3, 4, 5-8 | 7.177 | 1.103 | 0.221 | 140.75 | 0 | 0 | 0 | 0 | 4.475 | 3.1081 | 43.98% | 749.0459 | The Non-Domestic Aggregated Band 3 customer group is seeing an increase of 44.0%. This is primarily as a result of an increase of 44.5% driven by increased allowed revenue, an increase of 3.0% driven by the volumes forecast, and an increase of 1.5% driven by the load factor, offset by a decrease of 6.6% driven by the HV and LV service models.
Non-Domestic Aggregated Band 4 | 2D | 0, 3, 4, 5-8 | 7.177 | 1.103 | 0.221 | 397.36 | 0 | 0 | 0 | 0 | 4.3239 | 3.0326 | 42.58% | 2152.2226 | The Non-Domestic Aggregated Band 4 customer group is seeing an increase of 42.6%. This is primarily as a result of an increase of 45.5% driven by increased allowed revenue, an increase of 2.2% driven by the volumes forecast, and an increase of 1.6% driven by the load factor, offset by a decrease of 8.2% driven by the HV and LV service models.
Non-Domestic Aggregated (Related MPAN) | 4A | 4 | 7.177 | 1.103 | 0.221 | 0 | 0 | 0 | 0 | 0 | 0.66571 | 0.70611 | -5.722% | 61.7111 | The Non-Domestic Aggregated (Related MPAN) customer group is seeing a decrease of 5.7%. This is primarily as a result of a decrease of 17.4% driven by the HV and LV service models, offset by an increase of 3.4% driven by the load factor, and an increase of 3.3% driven by the volumes forecast.
LV Site Specific No Residual | 5Z | 0 | 5.141 | 0.774 | 0.153 | 13.79 | 1.51 | 3.96 | 0.126 | 0 | 4.2718 | 5.3727 | -20.49% | 619.6969 | The LV Site Specific No Residual customer group is seeing a decrease of 20.5%. This is primarily as a result of a decrease of 23.0% driven by the HV and LV service models, and a decrease of 1.1% driven by the volumes forecast, offset by an increase of 3.1% driven by the 500MW model.
LV Site Specific Band 1 | 5A | 0 | 5.141 | 0.774 | 0.153 | 589.94 | 1.51 | 3.96 | 0.126 | 0 | 4.3052 | 3.1585 | 36.31% | 3155.4288 | The LV Site Specific Band 1 customer group is seeing an increase of 36.3%. This is primarily as a result of an increase of 44.2% driven by increased allowed revenue, and an increase of 1.1% driven by the volumes forecast, offset by a decrease of 10.1% driven by the HV and LV service models.
LV Site Specific Band 2 | 5B | 0 | 5.141 | 0.774 | 0.153 | 1295.31 | 1.51 | 3.96 | 0.126 | 0 | 4.2931 | 3.2043 | 33.98% | 7047.2196 | The LV Site Specific Band 2 customer group is seeing an increase of 34.0%. This is primarily as a result of an increase of 43.2% driven by increased allowed revenue, offset by a decrease of 10.6% driven by the HV and LV service models.
LV Site Specific Band 3 | 5C | 0 | 5.141 | 0.774 | 0.153 | 1990.22 | 1.51 | 3.96 | 0.126 | 0 | 4.401 | 3.2682 | 34.66% | 10772.6277 | The LV Site Specific Band 3 customer group is seeing an increase of 34.7%. This is primarily as a result of an increase of 43.8% driven by increased allowed revenue, offset by a decrease of 10.8% driven by the HV and LV service models.
LV Site Specific Band 4 | 5D | 0 | 5.141 | 0.774 | 0.153 | 5487.43 | 1.51 | 3.96 | 0.126 | 0 | 4.9898 | 3.416 | 46.07% | 27868.5061 | The LV Site Specific Band 4 customer group is seeing an increase of 46.1%. This is primarily as a result of an increase of 50.9% driven by increased allowed revenue, and an increase of 4.1% driven by the volumes forecast, offset by a decrease of 10.0% driven by the HV and LV service models.
LV Sub Site Specific No Residual | 6Z | 0 | 3.293 | 0.464 | 0.086 | 13.79 | 2.16 | 3.72 | 0.073 | 0 | 4.264 | 5.2846 | -19.31% | 905.9303 | The LV Sub Site Specific No Residual customer group is seeing a decrease of 19.3%. This is primarily as a result of a decrease of 20.8% driven by the HV and LV service models, and a decrease of 5.6% driven by the diversity allowances, offset by an increase of 4.7% driven by the volumes forecast, and an increase of 2.1% driven by the 500MW model.
LV Sub Site Specific Band 1 | 6A | 0 | 3.293 | 0.464 | 0.086 | 589.94 | 2.16 | 3.72 | 0.073 | 0 | 1.8038 | 1.5801 | 14.15% | 4711.6546 | The LV Sub Site Specific Band 1 customer group is seeing an increase of 14.2%. This is primarily as a result of an increase of 24.8% driven by increased allowed revenue, and an increase of 1.8% driven by the coincidence factor, offset by a decrease of 8.9% driven by the HV and LV service models, and a decrease of 2.0% driven by the volumes forecast.
LV Sub Site Specific Band 2 | 6B | 0 | 3.293 | 0.464 | 0.086 | 1295.31 | 2.16 | 3.72 | 0.073 | 0 | 1.9924 | 1.6078 | 23.92% | 8462.4354 | The LV Sub Site Specific Band 2 customer group is seeing an increase of 23.9%. This is primarily as a result of an increase of 33.3% driven by increased allowed revenue, and an increase of 1.7% driven by the coincidence factor, offset by a decrease of 9.0% driven by the HV and LV service models.
LV Sub Site Specific Band 3 | 6C | 0 | 3.293 | 0.464 | 0.086 | 1990.22 | 2.16 | 3.72 | 0.073 | 0 | 2.219 | 1.7073 | 29.97% | 11896.5105 | The LV Sub Site Specific Band 3 customer group is seeing an increase of 30.0%. This is primarily as a result of an increase of 38.3% driven by increased allowed revenue, and an increase of 1.7% driven by the coincidence factor, offset by a decrease of 9.2% driven by the HV and LV service models.
LV Sub Site Specific Band 4 | 6D | 0 | 3.293 | 0.464 | 0.086 | 5487.43 | 2.16 | 3.72 | 0.073 | 0 | 2.869 | 2.0669 | 38.81% | 30431.255 | The LV Sub Site Specific Band 4 customer group is seeing an increase of 38.8%. This is primarily as a result of an increase of 44.3% driven by increased allowed revenue, an increase of 3.9% driven by the volumes forecast, and an increase of 1.4% driven by the coincidence factor, offset by a decrease of 9.0% driven by the HV and LV service models, and a decrease of 1.2% driven by the diversity allowances.
HV Site Specific No Residual | 7Z | 0 | 2.506 | 0.326 | 0.056 | 254.37 | 2.13 | 4.08 | 0.052 | 0 | 6.9981 | 7.8991 | -11.41% | 3195.1095 | The HV Site Specific No Residual customer group is seeing a decrease of 11.4%. This is primarily as a result of a decrease of 7.1% driven by the HV and LV service models, and a decrease of 4.1% driven by the diversity allowances.
HV Site Specific Band 1 | 7A | 0 | 2.506 | 0.326 | 0.056 | 4226.53 | 2.13 | 4.08 | 0.052 | 0 | 3.8834 | 2.6791 | 44.95% | 19695.8774 | The HV Site Specific Band 1 customer group is seeing an increase of 45.0%. This is primarily as a result of an increase of 51.8% driven by increased allowed revenue, offset by a decrease of 3.9% driven by the HV and LV service models, and a decrease of 1.2% driven by the volumes forecast.
HV Site Specific Band 2 | 7B | 0 | 2.506 | 0.326 | 0.056 | 11664.22 | 2.13 | 4.08 | 0.052 | 0 | 3.6978 | 2.387 | 54.91% | 54450.4797 | The HV Site Specific Band 2 customer group is seeing an increase of 54.9%. This is primarily as a result of an increase of 57.5% driven by increased allowed revenue, and an increase of 5.3% driven by the volumes forecast, offset by a decrease of 6.1% driven by the HV and LV service models, and a decrease of 1.1% driven by the diversity allowances.
HV Site Specific Band 3 | 7C | 0 | 2.506 | 0.326 | 0.056 | 21303.3 | 2.13 | 4.08 | 0.052 | 0 | 3.6964 | 2.3996 | 54.04% | 100787.2846 | The HV Site Specific Band 3 customer group is seeing an increase of 54.0%. This is primarily as a result of an increase of 57.0% driven by increased allowed revenue, and an increase of 5.8% driven by the volumes forecast, offset by a decrease of 6.9% driven by the HV and LV service models, and a decrease of 1.2% driven by the diversity allowances.
HV Site Specific Band 4 | 7D | 0 | 2.506 | 0.326 | 0.056 | 52826 | 2.13 | 4.08 | 0.052 | 0 | 3.6446 | 2.4459 | 49.01% | 249889.7221 | The HV Site Specific Band 4 customer group is seeing an increase of 49.0%. This is primarily as a result of an increase of 55.6% driven by increased allowed revenue, and an increase of 2.3% driven by the volumes forecast, offset by a decrease of 7.0% driven by the HV and LV service models, and a decrease of 1.2% driven by the diversity allowances.
Unmetered Supplies | 8A | 0, 1, 8 | 17.203 | 3.538 | 2.977 | 0 | 0 | 0 | 0 | 0 | 3.9786 | 2.7134 | 46.63% | 4086.7959 | The Unmetered Supplies customer group is seeing an increase of 46.6%. This is primarily as a result of an increase of 50.4% driven by increased allowed revenue, an increase of 6.4% driven by the coincidence factor, and an increase of 2.8% driven by the volumes forecast, offset by a decrease of 9.1% driven by the HV and LV service models, and a decrease of 3.8% driven by the load factor.