## Overview
Information on the Tariff Movement Explanation (TME) Template
This workbook is intended to give further detail on the information published in the CDCM model, and to give an appreciation of which areas are the main drivers for year on year changes in tariffs.
The 'Detailed Breakdown' worksheet initially shows the impact of updating each CDCM input table in turn, with the top table (rows 7 to 30) showing the cumulative impact of all updates to that point, and the bottom table (rows 36 to 59) the isolated impact of that step alone. Variances from a single step of more than ±5% are highlighted in red, and of more than ±3% highlighted in blue. The commentary (row 62) gives more detail on the update which has been carried out.
The 'Summary' worksheet shows the tariffs for each customer group, the average p/kWh for both 2025/26 and 2026/27 and the variance between the two, and a forecast of the total annual charge for 2026/27, along with commentary detailing the main drivers for change.

## Detailed Breakdown
| New Models |  | Input 102-A: Load factor |  | Input 102-A: Coincidence factor |  | Input 104-A: Inputs by distribution timeband |  | Input 103-A: Diversity allowance |  | Input 103-D: Peaking probabilities by network level |  | Input 103-A: Average kVAr by kVA |  | Input 103-A: Loss adjustment factors |  | Input 103-A: Proportion of load through 132kV/HV |  | Input 103-C: 500MW model |  | Input 102-D: Service model asset values |  | Input 104-B: LDNO discount inputs |  | Input 104-F: Other expenditure |  | Input 104-D: Days in charging year |  | Input 104-D: Rate of return |  | Input 104-E: Transmission Exit Charges |  | Input 103-B: Customer contributions under current connection charging policy |  | Input 102-C: Non-Domestic Aggregated (Related MPAN) distribution by bands |  | Input 102-B: Volume forecasts for the charging year |  | Input 104-C: CDCM target revenue |  | Updated
Cumulative Gradient | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Aggregated or CT with Residual | 0% | 0 | 0.07157% | 0.0032148 | -0.3666% | -0.016469 | -0.3666% | -0.016469 | -0.91% | -0.040876 | -0.6919% | -0.031078 | -0.6919% | -0.031078 | -0.5407% | -0.024286 | -0.5407% | -0.024286 | -0.746% | -0.033511 | -0.746% | -0.033511 | -0.7428% | -0.033368 | -0.5493% | -0.024675 | -0.5493% | -0.024675 | -0.5826% | -0.026169 | -0.56% | -0.025154 | -0.56% | -0.025154 | -0.56% | -0.025154 | -0.2914% | -0.012882 | 4.873% | 0.21544 | 4.873% | 0.21544
Domestic Aggregated (Related MPAN) | 0% | 0 | -0.3536% | -0.0031221 | 0.1092% | 0.00096421 | 0.1092% | 0.00096421 | -1.697% | -0.014983 | -8.199% | -0.072402 | -8.199% | -0.072402 | -5.993% | -0.052923 | -5.993% | -0.052923 | 0.891% | 0.0078677 | 0.891% | 0.0078677 | 0.8951% | 0.0079035 | 1.136% | 0.010031 | 1.136% | 0.010031 | 0.4918% | 0.0043427 | 0.5699% | 0.0050319 | 0.5699% | 0.0050319 | 0.5699% | 0.0050319 | 2.106% | 0.017639 | 2.106% | 0.017639 | 2.106% | 0.017639
Non-Domestic Aggregated or CT No Residual | 0% | 0 | -2.786% | -0.08363 | 0.7215% | 0.02166 | 0.7215% | 0.02166 | -0.495% | -0.014858 | -0.4729% | -0.014196 | -0.4729% | -0.014196 | 1.02% | 0.030612 | 1.02% | 0.030612 | 5.1% | 0.15308 | 5.1% | 0.15308 | 5.1% | 0.15308 | 5.487% | 0.16471 | 5.487% | 0.16471 | 5.034% | 0.1511 | 5.101% | 0.15313 | 5.101% | 0.15313 | 5.101% | 0.15313 | 6.227% | 0.17055 | 6.246% | 0.17105 | 6.246% | 0.17105
Non-Domestic Aggregated or CT Band 1 | 0% | 0 | -1.857% | -0.084541 | 0.223% | 0.010152 | 0.223% | 0.010152 | -0.4397% | -0.02002 | -0.4391% | -0.019995 | -0.4696% | -0.021384 | -0.2055% | -0.009358 | -0.2055% | -0.009358 | -0.1371% | -0.006244 | -0.1371% | -0.006244 | -0.1066% | -0.0048552 | 0.05891% | 0.0026823 | 0.05891% | 0.0026823 | -0.007817% | -0.00035594 | 0.01236% | 0.00056285 | 0.01236% | 0.00056285 | 0.01236% | 0.00056285 | -0.07903% | -0.0034705 | 5.213% | 0.22893 | 5.213% | 0.22893
Non-Domestic Aggregated or CT Band 2 | 0% | 0 | -2.64% | -0.083835 | 0.4236% | 0.013452 | 0.4236% | 0.013452 | -0.4575% | -0.014527 | -0.4573% | -0.014521 | -0.4573% | -0.014521 | 0.04548% | 0.0014443 | 0.04548% | 0.0014443 | 1.199% | 0.038079 | 1.199% | 0.038079 | 1.199% | 0.038079 | 1.154% | 0.036628 | 1.154% | 0.036628 | 1.114% | 0.035375 | 1.127% | 0.035771 | 1.127% | 0.035771 | 1.127% | 0.035771 | 0.798% | 0.025085 | 7.992% | 0.25124 | 7.992% | 0.25124
Non-Domestic Aggregated or CT Band 3 | 0% | 0 | -3.007% | -0.082276 | 0.5028% | 0.013757 | 0.5028% | 0.013757 | -0.4783% | -0.013088 | -0.5527% | -0.015122 | -0.5604% | -0.015333 | 0.02783% | 0.00076134 | 0.02783% | 0.00076134 | 1.586% | 0.043398 | 1.586% | 0.043398 | 1.594% | 0.043609 | 1.425% | 0.038994 | 1.425% | 0.038994 | 1.411% | 0.038594 | 1.432% | 0.039171 | 1.432% | 0.039171 | 1.432% | 0.039171 | 0.6966% | 0.019159 | 8.898% | 0.24474 | 8.898% | 0.24474
Non-Domestic Aggregated or CT Band 4 | 0% | 0 | -3.243% | -0.082561 | 0.5634% | 0.014346 | 0.5634% | 0.014346 | -0.489% | -0.012452 | -0.5073% | -0.012917 | -0.5165% | -0.013152 | 0.1399% | 0.0035616 | 0.1399% | 0.0035616 | 2.031% | 0.051721 | 2.031% | 0.051721 | 2.034% | 0.051799 | 1.798% | 0.045777 | 1.798% | 0.045777 | 1.79% | 0.045571 | 1.812% | 0.046141 | 1.812% | 0.046141 | 1.812% | 0.046141 | 1.006% | 0.025615 | 9.844% | 0.25069 | 9.844% | 0.25069
Non-Domestic Aggregated (Related MPAN) | 0% | 0 | -4.22% | -0.043551 | 1.247% | 0.012865 | 1.247% | 0.012865 | -0.5782% | -0.0059671 | -6.619% | -0.068313 | -6.619% | -0.068313 | -4.373% | -0.045137 | -4.373% | -0.045137 | 2.657% | 0.027419 | 2.657% | 0.027419 | 2.657% | 0.027419 | 2.822% | 0.029129 | 2.822% | 0.029129 | 2.268% | 0.023403 | 2.35% | 0.02425 | 2.35% | 0.02425 | 2.35% | 0.02425 | 3.85% | 0.042758 | 3.85% | 0.042758 | 3.85% | 0.042758
LV Site Specific No Residual | 0% | 0 | 0.09595% | 0.026973 | 0.9595% | 0.26971 | 0.9595% | 0.26971 | 1.424% | 0.40036 | 2.078% | 0.58427 | 2.077% | 0.58383 | 4.585% | 1.289 | 4.585% | 1.289 | 5.037% | 1.416 | 5.037% | 1.416 | 5.037% | 1.416 | 5.26% | 1.4787 | 5.26% | 1.4787 | 4.708% | 1.3233 | 4.712% | 1.3246 | 4.712% | 1.3246 | 4.712% | 1.3246 | 5.071% | 0.83232 | 5.076% | 0.83316 | 5.076% | 0.83316
LV Site Specific Band 1 | 0% | 0 | 1.341% | 0.038734 | 1.093% | 0.031584 | 1.093% | 0.031584 | 0.9064% | 0.026185 | 0.9691% | 0.027995 | 0.9599% | 0.02773 | 1.943% | 0.056128 | 1.943% | 0.056128 | 2.666% | 0.077003 | 2.666% | 0.077003 | 2.669% | 0.077098 | 2.48% | 0.071638 | 2.48% | 0.071638 | 2.406% | 0.069516 | 2.403% | 0.069416 | 2.403% | 0.069416 | 2.403% | 0.069416 | 1.616% | 0.046642 | 9.414% | 0.27179 | 9.414% | 0.27179
LV Site Specific Band 2 | 0% | 0 | 1.288% | 0.038831 | 1.111% | 0.033491 | 1.111% | 0.033491 | 0.9473% | 0.02855 | 1.104% | 0.033261 | 1.094% | 0.032986 | 2.198% | 0.066236 | 2.198% | 0.066236 | 2.992% | 0.09016 | 2.992% | 0.09016 | 2.994% | 0.090248 | 2.813% | 0.084783 | 2.813% | 0.084783 | 2.709% | 0.081643 | 2.708% | 0.081601 | 2.708% | 0.081601 | 2.708% | 0.081601 | 1.952% | 0.059071 | 9.374% | 0.28371 | 9.374% | 0.28371
LV Site Specific Band 3 | 0% | 0 | 1.253% | 0.038852 | 1.084% | 0.033603 | 1.084% | 0.033603 | 0.9724% | 0.030145 | 1.077% | 0.033393 | 1.068% | 0.033097 | 2.173% | 0.067357 | 2.173% | 0.067357 | 2.745% | 0.085095 | 2.745% | 0.085095 | 2.747% | 0.085169 | 2.558% | 0.079291 | 2.558% | 0.079291 | 2.46% | 0.076248 | 2.454% | 0.07607 | 2.454% | 0.07607 | 2.454% | 0.07607 | 1.735% | 0.053703 | 9.29% | 0.28749 | 9.29% | 0.28749
LV Site Specific Band 4 | 0% | 0 | 1.339% | 0.041571 | 0.9613% | 0.029841 | 0.9613% | 0.029841 | 0.9609% | 0.029827 | 0.8704% | 0.02702 | 0.8584% | 0.026648 | 1.61% | 0.049975 | 1.61% | 0.049975 | 1.16% | 0.035996 | 1.16% | 0.035996 | 1.163% | 0.0361 | 0.8658% | 0.026877 | 0.8658% | 0.026877 | 0.8989% | 0.027902 | 0.8769% | 0.02722 | 0.8769% | 0.02722 | 0.8769% | 0.02722 | -0.1853% | -0.0057671 | 9.152% | 0.28482 | 9.152% | 0.28482
LV Sub Site Specific No Residual | 0% | 0 | 0.08042% | 0.013515 | -0.1339% | -0.022506 | -0.1339% | -0.022506 | 3.97% | 0.66706 | 3.725% | 0.62604 | 3.729% | 0.6266 | 3.831% | 0.64376 | 3.831% | 0.64376 | 5.804% | 0.97539 | 5.804% | 0.97539 | 5.804% | 0.97539 | 6.062% | 1.0186 | 6.062% | 1.0186 | 5.491% | 0.92268 | 5.5% | 0.92433 | 5.5% | 0.92433 | 5.5% | 0.92433 | 6.175% | 0.23638 | 6.184% | 0.23671 | 6.184% | 0.23671
LV Sub Site Specific Band 1 | 0% | 0 | 0.9514% | 0.011503 | 0.6275% | 0.0075871 | 0.6275% | 0.0075871 | 1.658% | 0.020046 | 1.356% | 0.016392 | 1.412% | 0.017073 | 0.7535% | 0.0091096 | 0.7535% | 0.0091096 | 6.838% | 0.082676 | 6.838% | 0.082676 | 6.84% | 0.082696 | 6.832% | 0.082597 | 6.832% | 0.082597 | 6.458% | 0.078085 | 6.562% | 0.079338 | 6.562% | 0.079338 | 6.562% | 0.079338 | 2.432% | 0.033821 | 9.324% | 0.12969 | 9.324% | 0.12969
LV Sub Site Specific Band 2 | 0% | 0 | 1% | 0.012414 | 0.4832% | 0.0059966 | 0.4832% | 0.0059966 | 1.734% | 0.021518 | 1.217% | 0.015107 | 1.249% | 0.015495 | 0.3061% | 0.003799 | 0.3061% | 0.003799 | 5.128% | 0.063633 | 5.128% | 0.063633 | 5.13% | 0.063662 | 5.021% | 0.062308 | 5.021% | 0.062308 | 4.772% | 0.059221 | 4.852% | 0.060213 | 4.852% | 0.060213 | 4.852% | 0.060213 | 1.887% | 0.030671 | 9.093% | 0.14776 | 9.093% | 0.14776
LV Sub Site Specific Band 3 | 0% | 0 | 1.012% | 0.014196 | 0.366% | 0.0051356 | 0.366% | 0.0051356 | 1.838% | 0.025787 | 1.387% | 0.019458 | 1.415% | 0.019858 | 0.296% | 0.0041533 | 0.296% | 0.0041533 | 4.19% | 0.058788 | 4.19% | 0.058788 | 4.192% | 0.058819 | 4.022% | 0.056425 | 4.022% | 0.056425 | 3.854% | 0.054076 | 3.919% | 0.054985 | 3.919% | 0.054985 | 3.919% | 0.054985 | 1.937% | 0.02848 | 9.473% | 0.1393 | 9.473% | 0.1393
LV Sub Site Specific Band 4 | 0% | 0 | 0.9513% | 0.016598 | 0.1137% | 0.0019831 | 0.1137% | 0.0019831 | 2.248% | 0.039226 | 1.638% | 0.028583 | 1.661% | 0.028984 | 0.3428% | 0.00598 | 0.3428% | 0.00598 | 2.399% | 0.041849 | 2.399% | 0.041849 | 2.402% | 0.041901 | 2.151% | 0.037535 | 2.151% | 0.037535 | 2.087% | 0.036413 | 2.118% | 0.036957 | 2.118% | 0.036957 | 2.118% | 0.036957 | 0.1614% | 0.0029164 | 8.818% | 0.15939 | 8.818% | 0.15939
HV Site Specific No Residual | 0% | 0 | 0.2082% | 0.022742 | -0.02973% | -0.0032476 | -0.02973% | -0.0032476 | 3.58% | 0.39105 | 3.34% | 0.36485 | 3.39% | 0.37025 | 3.353% | 0.3663 | 3.353% | 0.3663 | 8.086% | 0.88326 | 8.086% | 0.88326 | 8.087% | 0.88332 | 8.407% | 0.91825 | 8.407% | 0.91825 | 7.779% | 0.84964 | 7.789% | 0.85075 | 7.789% | 0.85075 | 7.789% | 0.85075 | 7.278% | 0.97798 | 7.279% | 0.97814 | 7.279% | 0.97814
HV Site Specific Band 1 | 0% | 0 | 0.7476% | 0.013194 | -0.5085% | -0.0089743 | -0.5085% | -0.0089743 | 1.98% | 0.034939 | 0.9074% | 0.016014 | 0.9392% | 0.016574 | -1.16% | -0.020478 | -1.16% | -0.020478 | -1.233% | -0.021753 | -1.233% | -0.021753 | -1.228% | -0.02167 | -1.615% | -0.028494 | -1.615% | -0.028494 | -1.379% | -0.024335 | -1.408% | -0.024852 | -1.408% | -0.024852 | -1.408% | -0.024852 | -2.913% | -0.056067 | 8.483% | 0.16327 | 8.483% | 0.16327
HV Site Specific Band 2 | 0% | 0 | 0.7615% | 0.013143 | -0.5024% | -0.0086713 | -0.5024% | -0.0086713 | 2.217% | 0.038268 | 1.179% | 0.020343 | 1.202% | 0.02075 | -0.9% | -0.015533 | -0.9% | -0.015533 | -0.5082% | -0.0087706 | -0.5082% | -0.0087706 | -0.5036% | -0.0086914 | -0.9622% | -0.016606 | -0.9622% | -0.016606 | -0.7481% | -0.012912 | -0.7762% | -0.013397 | -0.7762% | -0.013397 | -0.7762% | -0.013397 | -2.394% | -0.041481 | 10.51% | 0.18205 | 10.51% | 0.18205
HV Site Specific Band 3 | 0% | 0 | 0.7239% | 0.012702 | -0.4541% | -0.0079678 | -0.4541% | -0.0079678 | 2.356% | 0.041333 | 1.405% | 0.024648 | 1.434% | 0.025157 | -0.5168% | -0.009068 | -0.5168% | -0.009068 | 0.5265% | 0.0092386 | 0.5265% | 0.0092386 | 0.5313% | 0.009322 | 0.09833% | 0.0017253 | 0.09833% | 0.0017253 | 0.2402% | 0.0042154 | 0.2189% | 0.0038404 | 0.2189% | 0.0038404 | 0.2189% | 0.0038404 | -1.762% | -0.031663 | 10.59% | 0.19035 | 10.59% | 0.19035
HV Site Specific Band 4 | 0% | 0 | 0.7625% | 0.01304 | -0.496% | -0.0084818 | -0.496% | -0.0084818 | 2.398% | 0.041008 | 1.372% | 0.023468 | 1.423% | 0.02433 | -0.6509% | -0.011131 | -0.6509% | -0.011131 | 0.03243% | 0.00055453 | 0.03243% | 0.00055453 | 0.03688% | 0.00063064 | -0.4531% | -0.0077489 | -0.4531% | -0.0077489 | -0.2612% | -0.0044664 | -0.2898% | -0.0049562 | -0.2898% | -0.0049562 | -0.2898% | -0.0049562 | -1.927% | -0.033539 | 10.92% | 0.19005 | 10.92% | 0.19005
Unmetered Supplies | 0% | 0 | -3.344% | -0.077772 | 2.782% | 0.064698 | 2.782% | 0.064698 | 1.685% | 0.039184 | 3.955% | 0.091962 | 3.955% | 0.091962 | 4.685% | 0.10895 | 4.685% | 0.10895 | 5.718% | 0.13297 | 5.718% | 0.13297 | 5.718% | 0.13297 | 5.441% | 0.12652 | 5.441% | 0.12652 | 5.42% | 0.12603 | 5.461% | 0.127 | 5.461% | 0.127 | 5.461% | 0.127 | 8.532% | 0.19313 | 18.47% | 0.41813 | 18.47% | 0.41813
| New Models |  | Input 102-A: Load factor |  | Input 102-A: Coincidence factor |  | Input 104-A: Inputs by distribution timeband |  | Input 103-A: Diversity allowance |  | Input 103-D: Peaking probabilities by network level |  | Input 103-A: Average kVAr by kVA |  | Input 103-A: Loss adjustment factors |  | Input 103-A: Proportion of load through 132kV/HV |  | Input 103-C: 500MW model |  | Input 102-D: Service model asset values |  | Input 104-B: LDNO discount inputs |  | Input 104-F: Other expenditure |  | Input 104-D: Days in charging year |  | Input 104-D: Rate of return |  | Input 104-E: Transmission Exit Charges |  | Input 103-B: Customer contributions under current connection charging policy |  | Input 102-C: Non-Domestic Aggregated (Related MPAN) distribution by bands |  | Input 102-B: Volume forecasts for the charging year |  | Input 104-C: CDCM target revenue |  | Updated
Step Gradient | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) |  |  | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Aggregated or CT with Residual | 0% | 0 | 0.07157% | 0.0032148 | -0.4382% | -0.019684 | 0% | 0 | -0.5434% | -0.024407 | 0.2181% | 0.0097978 | 0% | 0 | 0.1512% | 0.006792 | 0% | 0 | -0.2054% | -0.0092247 | 0% | 0 | 0.003184% | 0.00014302 | 0.1935% | 0.0086929 | 0% | 0 | -0.03325% | -0.0014937 | 0.0226% | 0.0010151 | 0% | 0 | 0% | 0 | 0.2686% | 0.012272 | 5.165% | 0.22832 | 4.873% | 0.21544
Domestic Aggregated (Related MPAN) | 0% | 0 | -0.3536% | -0.0031221 | 0.4628% | 0.0040863 | 0% | 0 | -1.806% | -0.015948 | -6.502% | -0.057418 | 0% | 0 | 2.206% | 0.019478 | 0% | 0 | 6.884% | 0.060791 | 0% | 0 | 0.004053% | 3.579e-05 | 0.241% | 0.002128 | 0% | 0 | -0.6442% | -0.0056888 | 0.07806% | 0.00068926 | 0% | 0 | 0% | 0 | 1.536% | 0.012607 | 0% | 0 | 2.106% | 0.017639
Non-Domestic Aggregated or CT No Residual | 0% | 0 | -2.786% | -0.08363 | 3.507% | 0.10529 | 0% | 0 | -1.216% | -0.036518 | 0.02204% | 0.00066164 | 0% | 0 | 1.493% | 0.044809 | 0% | 0 | 4.08% | 0.12247 | 0% | 0 | 0% | 0 | 0.3875% | 0.011633 | 0% | 0 | -0.4534% | -0.013612 | 0.06765% | 0.0020306 | 0% | 0 | 0% | 0 | 1.126% | 0.017413 | 0.0182% | 0.00049831 | 6.246% | 0.17105
Non-Domestic Aggregated or CT Band 1 | 0% | 0 | -1.857% | -0.084541 | 2.08% | 0.094693 | 0% | 0 | -0.6626% | -0.030172 | 0.0005544% | 2.5244e-05 | -0.0305% | -0.0013888 | 0.2641% | 0.012026 | 0% | 0 | 0.06839% | 0.003114 | 0% | 0 | 0.0305% | 0.0013888 | 0.1655% | 0.0075375 | 0% | 0 | -0.06672% | -0.0030382 | 0.02018% | 0.00091879 | 0% | 0 | 0% | 0 | -0.09139% | -0.0040333 | 5.292% | 0.2324 | 5.213% | 0.22893
Non-Domestic Aggregated or CT Band 2 | 0% | 0 | -2.64% | -0.083835 | 3.064% | 0.097287 | 0% | 0 | -0.8811% | -0.027979 | 0.0002046% | 6.4963e-06 | 0% | 0 | 0.5028% | 0.015965 | 0% | 0 | 1.154% | 0.036635 | 0% | 0 | 0% | 0 | -0.0457% | -0.0014512 | 0% | 0 | -0.03945% | -0.0012528 | 0.01245% | 0.00039532 | 0% | 0 | 0% | 0 | -0.3285% | -0.010685 | 7.194% | 0.22615 | 7.992% | 0.25124
Non-Domestic Aggregated or CT Band 3 | 0% | 0 | -3.007% | -0.082276 | 3.51% | 0.096033 | 0% | 0 | -0.9811% | -0.026845 | -0.07435% | -0.0020341 | -0.007716% | -0.00021112 | 0.5882% | 0.016094 | 0% | 0 | 1.558% | 0.042636 | 0% | 0 | 0.007716% | 0.00021112 | -0.1687% | -0.0046152 | 0% | 0 | -0.01461% | -0.00039977 | 0.02108% | 0.00057683 | 0% | 0 | 0% | 0 | -0.7351% | -0.020011 | 8.201% | 0.22558 | 8.898% | 0.24474
Non-Domestic Aggregated or CT Band 4 | 0% | 0 | -3.243% | -0.082561 | 3.806% | 0.096908 | 0% | 0 | -1.052% | -0.026798 | -0.01827% | -0.00046514 | -0.009219% | -0.00023474 | 0.6564% | 0.016713 | 0% | 0 | 1.891% | 0.04816 | 0% | 0 | 0.003073% | 7.8246e-05 | -0.2365% | -0.006022 | 0% | 0 | -0.008099% | -0.00020623 | 0.02239% | 0.00057007 | 0% | 0 | 0% | 0 | -0.8063% | -0.020526 | 8.838% | 0.22508 | 9.844% | 0.25069
Non-Domestic Aggregated (Related MPAN) | 0% | 0 | -4.22% | -0.043551 | 5.466% | 0.056416 | 0% | 0 | -1.825% | -0.018833 | -6.041% | -0.062346 | 0% | 0 | 2.246% | 0.023176 | 0% | 0 | 7.03% | 0.072556 | 0% | 0 | 0% | 0 | 0.1657% | 0.0017105 | 0% | 0 | -0.5548% | -0.0057258 | 0.08206% | 0.00084698 | 0% | 0 | 0% | 0 | 1.5% | 0.018508 | 0% | 0 | 3.85% | 0.042758
LV Site Specific No Residual | 0% | 0 | 0.09595% | 0.026973 | 0.8635% | 0.24274 | 0% | 0 | 0.4648% | 0.13065 | 0.6542% | 0.18391 | -0.001544% | -0.00043389 | 2.509% | 0.70516 | 0% | 0 | 0.4518% | 0.12699 | 0% | 0 | 0% | 0 | 0.2229% | 0.062666 | 0% | 0 | -0.5526% | -0.15534 | 0.004579% | 0.0012871 | 0% | 0 | 0% | 0 | 0.3586% | -0.49227 | 0.005081% | 0.00083405 | 5.076% | 0.83316
LV Site Specific Band 1 | 0% | 0 | 1.341% | 0.038734 | -0.2475% | -0.0071503 | 0% | 0 | -0.1869% | -0.005399 | 0.06268% | 0.0018105 | -0.009192% | -0.00026552 | 0.9831% | 0.028399 | 0% | 0 | 0.7226% | 0.020875 | 0% | 0 | 0.003298% | 9.5279e-05 | -0.189% | -0.0054603 | 0% | 0 | -0.07344% | -0.0021215 | -0.003471% | -0.00010027 | 0% | 0 | 0% | 0 | -0.7875% | -0.022774 | 7.798% | 0.22515 | 9.414% | 0.27179
LV Site Specific Band 2 | 0% | 0 | 1.288% | 0.038831 | -0.1772% | -0.0053394 | 0% | 0 | -0.164% | -0.0049414 | 0.1563% | 0.0047105 | -0.009112% | -0.00027463 | 1.103% | 0.03325 | 0% | 0 | 0.7938% | 0.023924 | 0% | 0 | 0.002903% | 8.7484e-05 | -0.1813% | -0.0054647 | 0% | 0 | -0.1042% | -0.0031403 | -0.001369% | -4.1274e-05 | 0% | 0 | 0% | 0 | -0.7558% | -0.022531 | 7.422% | 0.22464 | 9.374% | 0.28371
LV Site Specific Band 3 | 0% | 0 | 1.253% | 0.038852 | -0.1694% | -0.0052499 | 0% | 0 | -0.1115% | -0.0034579 | 0.1048% | 0.0032483 | -0.009537% | -0.00029565 | 1.105% | 0.03426 | 0% | 0 | 0.5722% | 0.017738 | 0% | 0 | 0.002376% | 7.3641e-05 | -0.1896% | -0.0058785 | 0% | 0 | -0.09815% | -0.0030427 | -0.005745% | -0.0001781 | 0% | 0 | 0% | 0 | -0.7186% | -0.022367 | 7.555% | 0.23379 | 9.29% | 0.28749
LV Site Specific Band 4 | 0% | 0 | 1.339% | 0.041571 | -0.3779% | -0.01173 | 0% | 0 | -0.0004487% | -1.3928e-05 | -0.09045% | -0.0028078 | -0.01197% | -0.00037171 | 0.7515% | 0.023328 | 0% | 0 | -0.4504% | -0.01398 | 0% | 0 | 0.003362% | 0.00010438 | -0.2971% | -0.009223 | 0% | 0 | 0.03304% | 0.0010256 | -0.02199% | -0.00068263 | 0% | 0 | 0% | 0 | -1.062% | -0.032987 | 9.338% | 0.29059 | 9.152% | 0.28482
LV Sub Site Specific No Residual | 0% | 0 | 0.08042% | 0.013515 | -0.2144% | -0.03602 | 0% | 0 | 4.104% | 0.68957 | -0.2441% | -0.041021 | 0.003341% | 0.0005615 | 0.1021% | 0.01716 | 0% | 0 | 1.973% | 0.33162 | 0% | 0 | 0% | 0 | 0.2572% | 0.043214 | 0% | 0 | -0.5708% | -0.095925 | 0.00981% | 0.0016485 | 0% | 0 | 0% | 0 | 0.6749% | -0.68795 | 0.008645% | 0.0003309 | 6.184% | 0.23671
LV Sub Site Specific Band 1 | 0% | 0 | 0.9514% | 0.011503 | -0.3239% | -0.0039162 | 0% | 0 | 1.03% | 0.012459 | -0.3022% | -0.0036536 | 0.05632% | 0.00068096 | -0.6587% | -0.0079638 | 0% | 0 | 6.085% | 0.073567 | 0% | 0 | 0.001682% | 2.0338e-05 | -0.00824% | -9.9629e-05 | 0% | 0 | -0.3732% | -0.0045119 | 0.1037% | 0.0012534 | 0% | 0 | 0% | 0 | -4.13% | -0.045517 | 6.893% | 0.095864 | 9.324% | 0.12969
LV Sub Site Specific Band 2 | 0% | 0 | 1% | 0.012414 | -0.5171% | -0.0064172 | 0% | 0 | 1.251% | 0.015521 | -0.5165% | -0.0064103 | 0.03123% | 0.00038758 | -0.9425% | -0.011696 | 0% | 0 | 4.821% | 0.059835 | 0% | 0 | 0.002259% | 2.8039e-05 | -0.1091% | -0.0013539 | 0% | 0 | -0.2487% | -0.0030865 | 0.07994% | 0.00099212 | 0% | 0 | 0% | 0 | -2.964% | -0.029542 | 7.206% | 0.11709 | 9.093% | 0.14776
LV Sub Site Specific Band 3 | 0% | 0 | 1.012% | 0.014196 | -0.6458% | -0.0090605 | 0% | 0 | 1.472% | 0.020652 | -0.4511% | -0.0063293 | 0.02852% | 0.00040009 | -1.119% | -0.015705 | 0% | 0 | 3.894% | 0.054635 | 0% | 0 | 0.002189% | 3.0717e-05 | -0.1706% | -0.0023933 | 0% | 0 | -0.1675% | -0.0023497 | 0.06484% | 0.00090978 | 0% | 0 | 0% | 0 | -1.982% | -0.026506 | 7.537% | 0.11082 | 9.473% | 0.1393
LV Sub Site Specific Band 4 | 0% | 0 | 0.9513% | 0.016598 | -0.8377% | -0.014615 | 0% | 0 | 2.135% | 0.037243 | -0.61% | -0.010643 | 0.02293% | 0.00040002 | -1.318% | -0.023003 | 0% | 0 | 2.056% | 0.035869 | 0% | 0 | 0.002975% | 5.1901e-05 | -0.2503% | -0.0043664 | 0% | 0 | -0.06429% | -0.0011217 | 0.03117% | 0.00054388 | 0% | 0 | 0% | 0 | -1.957% | -0.034041 | 8.657% | 0.15647 | 8.818% | 0.15939
HV Site Specific No Residual | 0% | 0 | 0.2082% | 0.022742 | -0.2379% | -0.025989 | 0% | 0 | 3.61% | 0.3943 | -0.2399% | -0.026203 | 0.0495% | 0.0054068 | -0.03621% | -0.0039547 | 0% | 0 | 4.733% | 0.51696 | 0% | 0 | 0.0005647% | 6.168e-05 | 0.3198% | 0.034927 | 0% | 0 | -0.6281% | -0.068608 | 0.01016% | 0.0011103 | 0% | 0 | 0% | 0 | -0.5106% | 0.12723 | 0.001191% | 0.00016006 | 7.279% | 0.97814
HV Site Specific Band 1 | 0% | 0 | 0.7476% | 0.013194 | -1.256% | -0.022168 | 0% | 0 | 2.488% | 0.043913 | -1.072% | -0.018925 | 0.03174% | 0.00056009 | -2.099% | -0.037052 | 0% | 0 | -0.07227% | -0.0012755 | 0% | 0 | 0.004733% | 8.3531e-05 | -0.3867% | -0.0068243 | 0% | 0 | 0.2356% | 0.0041586 | -0.02927% | -0.0005165 | 0% | 0 | 0% | 0 | -1.505% | -0.031215 | 11.4% | 0.21934 | 8.483% | 0.16327
HV Site Specific Band 2 | 0% | 0 | 0.7615% | 0.013143 | -1.264% | -0.021814 | 0% | 0 | 2.72% | 0.046939 | -1.039% | -0.017924 | 0.02359% | 0.00040709 | -2.102% | -0.036283 | 0% | 0 | 0.3918% | 0.0067622 | 0% | 0 | 0.004589% | 7.9204e-05 | -0.4586% | -0.0079148 | 0% | 0 | 0.2141% | 0.0036945 | -0.02809% | -0.00048488 | 0% | 0 | 0% | 0 | -1.618% | -0.028084 | 12.9% | 0.22353 | 10.51% | 0.18205
HV Site Specific Band 3 | 0% | 0 | 0.7239% | 0.012702 | -1.178% | -0.020669 | 0% | 0 | 2.81% | 0.049301 | -0.9509% | -0.016685 | 0.02905% | 0.00050965 | -1.951% | -0.034225 | 0% | 0 | 1.043% | 0.018307 | 0% | 0 | 0.004751% | 8.3357e-05 | -0.433% | -0.0075967 | 0% | 0 | 0.1419% | 0.00249 | -0.02137% | -0.00037494 | 0% | 0 | 0% | 0 | -1.98% | -0.035504 | 12.35% | 0.22201 | 10.59% | 0.19035
HV Site Specific Band 4 | 0% | 0 | 0.7625% | 0.01304 | -1.259% | -0.021522 | 0% | 0 | 2.894% | 0.049489 | -1.026% | -0.01754 | 0.05041% | 0.00086209 | -2.074% | -0.035461 | 0% | 0 | 0.6833% | 0.011686 | 0% | 0 | 0.004451% | 7.611e-05 | -0.49% | -0.0083795 | 0% | 0 | 0.1919% | 0.0032825 | -0.02864% | -0.00048986 | 0% | 0 | 0% | 0 | -1.637% | -0.028583 | 12.85% | 0.22359 | 10.92% | 0.19005
Unmetered Supplies | 0% | 0 | -3.344% | -0.077772 | 6.127% | 0.14247 | 0% | 0 | -1.097% | -0.025514 | 2.27% | 0.052778 | 0% | 0 | 0.7306% | 0.01699 | 0% | 0 | 1.033% | 0.024017 | 0% | 0 | 0% | 0 | -0.2772% | -0.006447 | 0% | 0 | -0.02121% | -0.00049313 | 0.04166% | 0.00096884 | 0% | 0 | 0% | 0 | 3.07% | 0.066135 | 9.94% | 0.225 | 18.47% | 0.41813
Comment | Change represents update from 2025/26 to 2026/27 models. |  | Load factors updated based on the latest available three years of consumption data (2021/22, 2022/23 and 2023/24). |  | Coincidence factors updated based on the latest available three years of consumption data (2021/22, 2022/23 and 2023/24). |  | Updated for number of hours in timebands for 2026/27. |  | Updated based on the latest available three years of network data (2021/22, 2022/23 and 2023/24). |  | Updated based on the latest available three years of network data (2021/22, 2022/23 and 2023/24). |  | Updated values based on 2023/24 network data. |  | Losses updated using the latest available information from our 2024 losses submission. |  | No change - input remains zero as there are no 132kV/HV assets in the 500MW Model. |  | Updated from 2025/26 values to the latest available information. |  | Updated from 2025/26 values to the latest available information. |  | LDNO discounts vary slightly from those used for 2025/26 charges due to changes to the HV and LV split values. |  | Updated view of 2026/27 Direct and Indirect Costs, and updated forecast of 2026/27 Network Rates. |  | Updated days in charging year for 2026/27. |  | Rate of return updated from 4.90% (2025/26) to 4.84% (2026/27). |  | Updated forecast of 2026/27 exit charges. |  | No change - input remains zero as a result of Ofgem’s Access and Forward Looking Charges Significant Code Review (Access SCR) changes to Connections Charging policy. |  | Updated forecast of 2026/27 units. |  | Updated forecast of 2026/27 units. |  | Updated forecast of 2026/27 allowances.
CDCM Tariff Movement - Northern Powergrid (Northeast)

## Summary
| 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | 9 | 10 | 9 | 9 |  | 10
Northern Powergrid (Northeast) - April 2026 - LV/HV Final charges | [10 empty] | Commentary
| Open LLFCs | PCs | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/ day | Capacity charge p/kVA/day | Excess capacity charge p/kVA/day | Reactive power charge p/kVArh | Closed LLFCs | 2026/27 Average p/kWh | 2025/26 Average p/kWh | Percentage change % | 2026/27 Typical Annual Bill (£) | Main drivers for change
Domestic Aggregated or CT with Residual | 1A, 1AH, 1, 2, 249 | 0, 1, 2 | 11.239 | 1.702 | 0.24 | 17.97 | 0 | 0 | 0 | 998, 999 | 4.6364 | 4.421 | 4.873% | 128.9665 | The Domestic Aggregated or CT with Residual customer group is seeing an increase of 4.9%. This is primarily as a result of an increase of 5.2% driven by increased allowed revenue.
Domestic Aggregated (Related MPAN) | 3A, 12 | 2 | 11.239 | 1.702 | 0.24 | 0 | 0 | 0 | 0 | 0 | 0.85532 | 0.83768 | 2.106% | 25.3758 | The Domestic Aggregated (Related MPAN) customer group is seeing an increase of 2.1%. This is primarily as a result of an increase of 6.9% driven by the 500MW model, and an increase of 2.2% driven by losses, offset by a decrease of 6.5% driven by the peaking probabilities.
Non-Domestic Aggregated or CT No Residual | 2Z, 2ZH | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 14.71 | 0 | 0 | 0 | 0 | 2.9097 | 2.7386 | 6.246% | 213.1265 | The Non-Domestic Aggregated or CT No Residual customer group is seeing an increase of 6.2%. This is primarily as a result of an increase of 4.1% driven by the 500MW model, and an increase of 3.5% driven by the coincidence factor, offset by a decrease of 2.8% driven by the load factor.
Non-Domestic Aggregated or CT Band 1 | 2A, 2AH | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 16.73 | 0 | 0 | 0 | 0 | 4.6204 | 4.3915 | 5.213% | 130.62 | The Non-Domestic Aggregated or CT Band 1 customer group is seeing an increase of 5.2%. This is primarily as a result of an increase of 5.3% driven by increased allowed revenue, and an increase of 2.1% driven by the coincidence factor, offset by a decrease of 1.9% driven by the load factor.
Non-Domestic Aggregated or CT Band 2 | 2B, 2BH | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 20.21 | 0 | 0 | 0 | 0 | 3.3947 | 3.1434 | 7.992% | 267.3702 | The Non-Domestic Aggregated or CT Band 2 customer group is seeing an increase of 8.0%. This is primarily as a result of an increase of 7.2% driven by increased allowed revenue, and an increase of 3.1% driven by the coincidence factor, offset by a decrease of 2.6% driven by the load factor.
Non-Domestic Aggregated or CT Band 3 | 2C, 2CH | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 26.54 | 0 | 0 | 0 | 0 | 2.9953 | 2.7506 | 8.898% | 508.4158 | The Non-Domestic Aggregated or CT Band 3 customer group is seeing an increase of 8.9%. This is primarily as a result of an increase of 8.2% driven by increased allowed revenue, and an increase of 3.5% driven by the coincidence factor, offset by a decrease of 3.0% driven by the load factor.
Non-Domestic Aggregated or CT Band 4 | 2D, 2DH | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 46.58 | 0 | 0 | 0 | 0 | 2.7974 | 2.5467 | 9.844% | 1281.0828 | The Non-Domestic Aggregated or CT Band 4 customer group is seeing an increase of 9.8%. This is primarily as a result of an increase of 8.8% driven by increased allowed revenue, and an increase of 3.8% driven by the coincidence factor, offset by a decrease of 3.2% driven by the load factor.
Non-Domestic Aggregated (Related MPAN) | 4A | 4 | 12.823 | 1.942 | 0.273 | 0 | 0 | 0 | 0 | 0 | 1.1534 | 1.1106 | 3.85% | 79.1558 | The Non-Domestic Aggregated (Related MPAN) customer group is seeing an increase of 3.8%. This is primarily as a result of an increase of 7.0% driven by the 500MW model, an increase of 5.5% driven by the coincidence factor, and an increase of 2.2% driven by losses, offset by a decrease of 6.0% driven by the peaking probabilities, and a decrease of 4.2% driven by the load factor.
LV Site Specific No Residual | 5Z | 0 | 8.522 | 1.255 | 0.179 | 15.25 | 5.48 | 5.48 | 0.163 | 0 | 17.2474 | 16.4143 | 5.076% | 1509.5719 | The LV Site Specific No Residual customer group is seeing an increase of 5.1%. This is primarily as a result of an increase of 2.5% driven by losses.
LV Site Specific Band 1 | 5A | 0 | 8.522 | 1.255 | 0.179 | 68.39 | 5.48 | 5.48 | 0.163 | 0 | 3.1589 | 2.8871 | 9.414% | 2411.4883 | The LV Site Specific Band 1 customer group is seeing an increase of 9.4%. This is primarily as a result of an increase of 7.8% driven by increased allowed revenue, and an increase of 1.3% driven by the load factor.
LV Site Specific Band 2 | 5B | 0 | 8.522 | 1.255 | 0.179 | 129.89 | 5.48 | 5.48 | 0.163 | 0 | 3.3102 | 3.0265 | 9.374% | 5462.437 | The LV Site Specific Band 2 customer group is seeing an increase of 9.4%. This is primarily as a result of an increase of 7.4% driven by increased allowed revenue.
LV Site Specific Band 3 | 5C | 0 | 8.522 | 1.255 | 0.179 | 194.74 | 5.48 | 5.48 | 0.163 | 0 | 3.3821 | 3.0947 | 9.29% | 8396.3629 | The LV Site Specific Band 3 customer group is seeing an increase of 9.3%. This is primarily as a result of an increase of 7.6% driven by increased allowed revenue.
LV Site Specific Band 4 | 5D | 0 | 8.522 | 1.255 | 0.179 | 482.86 | 5.48 | 5.48 | 0.163 | 0 | 3.3968 | 3.112 | 9.152% | 17673.552 | The LV Site Specific Band 4 customer group is seeing an increase of 9.2%. This is primarily as a result of an increase of 9.3% driven by increased allowed revenue.
LV Sub Site Specific No Residual | 6Z | 0 | 4.634 | 0.626 | 0.093 | 15.25 | 5.15 | 5.15 | 0.087 | 0 | 4.0644 | 3.8277 | 6.184% | 896.6607 | The LV Sub Site Specific No Residual customer group is seeing an increase of 6.2%. This is primarily as a result of an increase of 4.1% driven by the diversity allowances.
LV Sub Site Specific Band 1 | 6A | 0 | 4.634 | 0.626 | 0.093 | 68.39 | 5.15 | 5.15 | 0.087 | 0 | 1.5205 | 1.3908 | 9.324% | 2726.1315 | The LV Sub Site Specific Band 1 customer group is seeing an increase of 9.3%. This is primarily as a result of an increase of 6.9% driven by increased allowed revenue, an increase of 6.1% driven by the 500MW model, and an increase of 1.0% driven by the diversity allowances, offset by a decrease of 4.1% driven by the volumes forecast.
LV Sub Site Specific Band 2 | 6B | 0 | 4.634 | 0.626 | 0.093 | 129.89 | 5.15 | 5.15 | 0.087 | 0 | 1.7727 | 1.625 | 9.093% | 5612.3151 | The LV Sub Site Specific Band 2 customer group is seeing an increase of 9.1%. This is primarily as a result of an increase of 7.2% driven by increased allowed revenue, and an increase of 4.8% driven by the 500MW model, offset by a decrease of 3.0% driven by the volumes forecast.
LV Sub Site Specific Band 3 | 6C | 0 | 4.634 | 0.626 | 0.093 | 194.74 | 5.15 | 5.15 | 0.087 | 0 | 1.6097 | 1.4704 | 9.473% | 8430.4895 | The LV Sub Site Specific Band 3 customer group is seeing an increase of 9.5%. This is primarily as a result of an increase of 7.5% driven by increased allowed revenue, and an increase of 3.9% driven by the 500MW model.
LV Sub Site Specific Band 4 | 6D | 0 | 4.634 | 0.626 | 0.093 | 482.86 | 5.15 | 5.15 | 0.087 | 0 | 1.9669 | 1.8075 | 8.818% | 19005.5963 | The LV Sub Site Specific Band 4 customer group is seeing an increase of 8.8%. This is primarily as a result of an increase of 8.7% driven by increased allowed revenue.
HV Site Specific No Residual | 7Z | 0 | 3.403 | 0.427 | 0.066 | 316.66 | 5.6 | 5.6 | 0.063 | 0 | 14.4155 | 13.4374 | 7.279% | 6574.6601 | The HV Site Specific No Residual customer group is seeing an increase of 7.3%. This is primarily as a result of an increase of 4.7% driven by the 500MW model, and an increase of 3.6% driven by the diversity allowances.
HV Site Specific Band 1 | 7A | 0 | 3.403 | 0.427 | 0.066 | 681.69 | 5.6 | 5.6 | 0.063 | 0 | 2.0879 | 1.9246 | 8.483% | 11234.9378 | The HV Site Specific Band 1 customer group is seeing an increase of 8.5%. This is primarily as a result of an increase of 11.4% driven by increased allowed revenue, and an increase of 2.5% driven by the diversity allowances, offset by a decrease of 2.1% driven by losses, a decrease of 1.5% driven by the volumes forecast, and a decrease of 1.3% driven by the coincidence factor.
HV Site Specific Band 2 | 7B | 0 | 3.403 | 0.427 | 0.066 | 1316.4 | 5.6 | 5.6 | 0.063 | 0 | 1.9149 | 1.7328 | 10.51% | 27690.0996 | The HV Site Specific Band 2 customer group is seeing an increase of 10.5%. This is primarily as a result of an increase of 12.9% driven by increased allowed revenue, and an increase of 2.7% driven by the diversity allowances.
HV Site Specific Band 3 | 7C | 0 | 3.403 | 0.427 | 0.066 | 2103.42 | 5.6 | 5.6 | 0.063 | 0 | 1.9878 | 1.7974 | 10.59% | 51724.513 | The HV Site Specific Band 3 customer group is seeing an increase of 10.6%. This is primarily as a result of an increase of 12.4% driven by increased allowed revenue, and an increase of 2.8% driven by the diversity allowances.
HV Site Specific Band 4 | 7D | 0 | 3.403 | 0.427 | 0.066 | 5182.22 | 5.6 | 5.6 | 0.063 | 0 | 1.9304 | 1.7404 | 10.92% | 135824.2796 | The HV Site Specific Band 4 customer group is seeing an increase of 10.9%. This is primarily as a result of an increase of 12.8% driven by increased allowed revenue, and an increase of 2.9% driven by the diversity allowances.
Unmetered Supplies | 8A | 0, 1, 8 | 33.484 | 1.813 | 0.498 | 0 | 0 | 0 | 0 | 0 | 2.6818 | 2.2637 | 18.47% | 3060.1095 | The Unmetered Supplies customer group is seeing an increase of 18.5%. This is primarily as a result of an increase of 9.9% driven by increased allowed revenue, an increase of 6.1% driven by the coincidence factor, and an increase of 3.1% driven by the volumes forecast, offset by a decrease of 3.3% driven by the load factor.